P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | ACNW Tenant Infill RE-BID | Quote #: | 72020-01R |
| --- | --- | --- | --- |
| Location: | Springdale, AR | Bid Date: | ASAP |
| Architect: | Polk Stanley Wilcox | Date: | 7/20/20 |
| Engineer: | TME | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| CS-1 | CUP SINK: JUST A-41963 | 451.40 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 14.05 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | Carrier: Watts TCA-411 | 989.50 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| EWC-1-2 | Water Cooler: Oasis PGVF8EBF | 2088.00 |
|  | P-trap: McGuire 8088C | 63.66 |
|  | Stops & Supplies: McGuire LFST17LK | 13.85 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| L-1 | Faucet: T&S Brass EC-3130 | 838.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 14.05 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | Carrier: Watts TCA-411 | 989.50 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| L-2 | Faucet: T&S Brass NO EQUAL |  |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 14.05 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | Carrier: Watts TCA-411 | 989.50 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | TMV if Required: Leonard TA-300-LF | 750.00 |
| L-3 | Faucet: T&S Brass B-2866-05-CR-L15 | 378.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 14.05 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | Carrier: Watts TCA-411 | 989.50 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-1 | SINK: JUST USX-1616-A-GR | 324.90 |
|  | Faucet: T&S Brass B-2866-05-CR-L15 | 378.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| SS-1 | Faucet: T&S Brass B-0665BSTP | 262.00 |
|  | Mop Hanger: T&S Brass B-0653 | 70.60 |
|  | Hose & Hook: T&S Brass B-0654 | 42.50 |
| WC-1 | Flush Valve: Delany I1802-1.6-T42 | 650.00 |
| WC-2 | Carrier: Watts Horizontal L/R ISCA-101 | 1443.00 |
| WC-3 | Back to Back Horizontal ISCA-101-D | 2697.00 |
|  | Vertical L/R ISCA-131 | 2105.00 |
|  | Back to Back Vertical ISCA-131D | 3479.50 |
|  | “XHD” 750LB ISCA-103-L/R | 3284.00 |
|  | Back To Back “XHD” 750LB ISCA-103-D | 6327.50 |
| FD-1 | Floor Drain: Watts FD-100-6M-P | 716.50 |
| WCO | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| HWRP-1 | Circulating Pump: Armstrong E7.2B price includes freight | 917.00 |
|  | Timer if Required (810223-130) | 131.00 |
|  | Aquastat if Required (110123-121) | 49.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 87.00 |
|  | 1” (816012-841) | 87.00 |
|  | 1.25(816011-841) | 99.00 |
|  | 1.5 (816009-841) | 111.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |