P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | AMC Chenal 9 | Quote #: | 6517-02R |
| --- | --- | --- | --- |
| Location: | Little Rock ,AR | Bid Date: | ASAP |
| Architect: |  | Date: |  |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2017

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1 | Faucet: T&S Brass EC-3100-HG AS ALTERNATE | 809.00 |
|  | Drain: McGuire 155WCECO | 36.04 |
|  | P-Trap: McGuire 8872CECO | 36.66 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | Insulation: McGuire PW2000WC | 105.30 |
|  | Carrier: Watts TCA-411 | 745.00 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| MXV-1 | Mixing Valve: Leonard 270-LF | 170.00 |
| HB-1 | Faucet: T&S Brass B-0730 | 809.00 |
| FS-1 | Floor Sink: Watts FS-720-1 | 1410.00 |
| 3SK | Faucet: T&S Brass B-2187 | 700.50 |
|  | Drain: TS BRASS B-3950 | 109.00 |
|  | P-Trap: McGuire 8912CECO | 38.93 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| RP-1-2 | Circulating Pump: Armstrong COMPASS price includes freight | 502.00 |
|  | Timer if Required | 115.00 |
|  | Aquastat if Required | 43.00 |
|  | Companion Flanges |  |
|  | ¾ | 72.00 |
|  | 1” | 72.00 |
|  | 1.25 | 82.00 |
|  | 1.5 | 93.00 |
|  | Circulator Isolation Flanges if Required |  |
|  | ½ | 69.00 |
|  | ¾ | 74.00 |
|  | 1” | 88.00 |
|  | 1.25 | 112.00 |
|  | 1.5 | 144.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |