P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Academic Partnership Office | Quote #: | 112910-01R |
| --- | --- | --- | --- |
| Location: | Jonesboro, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 11/29/10 |
| Engineer: | Pettit & Pettit | Page 1 of 1 |

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1 | Faucet: T&S Brass B-2990 | 228.50 |
|  | Drain: McGuire 155AECO | 15.38 |
|  | P-Trap: McGuire 8872CECO | 29.06 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 9.42 |
|  | Stops & Supplies: McGuire H2167LKF | 71.45 |
|  | Insulation: McGuire PW2000 | 69.53 |
|  | Carrier: Josam 17100 | 483.84 |
|  | Nipple: McGuire N6 | 15.47each |
| S-1 | Sink: Amtekco D-1-1212-10 | 810.90 |
|  | Faucet: T&S Brass B-0300 | 193.90 |
|  | Drain: McGuire 152 | 31.63 |
|  | P-Trap: McGuire 8912CECO | 30.86 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 9.52 |
|  | Stops & Supplies: McGuire H2167LKF | 71.45 |
|  | Nipple: McGuire N6 | 15.47each |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |