P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Archer Learning Center | Quote #: | 41719-01R |
| --- | --- | --- | --- |
| Location: | Springdale, AR | Bid Date: | ASAP |
| Architect: | Hight Jackson | Date: | 4/17/19 |
| Engineer: | HSA | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1-2 | Flush Valve: Delany 402-1.6-T42-SMO | 375.00 |
| P-3 | Flush Valve: Delany 451-1-T42-SMO | 375.00 |
|  | Carrier: Watts CA-421 | 752.00 |
| P-4 | Faucet: T&S Brass B-2711-LH | 217.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Drain: McGuire 155AECO | 21.80 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000 | 98.54 |
|  | Carrier: Watts TCA-411 | 989.50 |
| P-5 | Water Cooler: Oasis PGV8EBFSL | 2525.00 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
|  | Carrier Bi-Level: Watts CA-431-1 | 960.00 |
|  | Carrier: Watts CA-421 | 594.00 |
| P-6 | Faucet: T&S Brass B-2866-05 | 319.00 |
|  | Drain: McGuire 151A | 40.76 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
| P-7-8 | P-Trap: ORION UTP 1-1/2 AND RLNSX12 | 268.00 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
| P-9 | ORION T8 | 496.50 |
|  | LIMESTONE 1 50LBS | 26.50 |
| P-10 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| P-11 | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| P-13 | Emergency Eyewash: Encon CC2251 | 617.00 |
|  | ETMV: Leonard TM800-LF | 1350.00 |
| P-14 | Faucet: T&S Brass B-0331-WH4 | 336.50 |
|  | Drain: McGuire 151A | 40.76 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
| P-15 | Floor Sink: Watts FS-710-F-1 | 2188.50 |
| P-16 | SINK: AMTEKCO DH-17-WH4 | 750.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Drain: McGuire 155AECO | 21.80 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000 | 98.54 |
|  | Carrier: Watts TCA-411 | 989.50 |
| P-20 | Faucet: T&S Brass B-2711-LH | 217.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Drain: McGuire 155AECO | 21.80 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000 | 98.54 |
|  | Carrier: Watts TCA-411 | 989.50 |
| CP-1 | Circulating Pump: Armstrong ASTRO225BS price includes freight | 377.00 |
|  | Timer if Required | 115.00 |
|  | Aquastat if Required | 43.00 |
|  | Companion Flanges |  |
|  | ¾ | 72.00 |
|  | 1” | 72.00 |
|  | 1.25 | 82.00 |
|  | 1.5 | 93.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |