P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | B9201 TAFB | Quote #: | 4319-06R |
| --- | --- | --- | --- |
| Location: | OKC, OK | Bid Date: | ASAP |
| Architect: |  | Date: | 4/3/19 |
| Engineer: |  | Page 1 of 1 |
|  | THIS QUOTE MEETS BUY AMERICA ACT |  |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| TMV-101 | Mixing Valve: Leonard TM820B-LF-DT-IT | 3525.00 |
| LV-1-2 | Drain: McGuire 155WC | 58.23 |
|  | P-Trap: McGuire C8872C | 48.16 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000WC | 118.31 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
| SK-1-2 | Drain: McGuire 151A | 40.76 |
|  | P-Trap: McGuire C8912C | 52.63 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 98.54 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |