P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Central HS Restroom Renovation | Quote #: | 32317-02R |
| --- | --- | --- | --- |
| Location: | Little Rock, AR | Bid Date: | ASAP |
| Architect: | Witsell Evans and Rasco | Date: | 3/23/17 |
| Engineer: | Pack | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2017

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P8-P9-P10 | Faucet: T&S Brass 5EF-2D-DS | 487.50 |
|  | Drain: McGuire 155AECO | 19.40 |
|  | P-Trap: McGuire 8872CECO | 36.66 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | Insulation: McGuire PW2000 | 87.70 |
|  | Carrier: Watts TCA-411 | 745.00 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
|  | OR WHERE REQUIRED USING OFFSET DRAIN |  |
| P8-9-10 | Faucet: T&S Brass 5EF-2D-DS | 487.50 |
|  | Drain: McGuire 155WCECO | 36.04 |
|  | P-Trap: McGuire 8872CECO | 36.66 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | Insulation: McGuire PW2000WC | 105.30 |
|  | Carrier: Watts TCA-411 | 745.00 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| P14 | Mixing Valve: Leonard TM-26-LF-DT | 1000.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |