P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Earle Dental Clinic | Quote #: | 4617-03R |
| --- | --- | --- | --- |
| Location: |  | Bid Date: | ASAP |
| Architect: |  | Date: | 4/6/17 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2017

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1 | Stops & Supplies: McGuire LF2166LK | 20.29 |
| P-2 | Faucet: T&S Brass B-2711 | 199.00 |
|  | Drain: McGuire 155AECO | 19.40 |
|  | P-Trap: McGuire 8872CECO | 36.66 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | Insulation: McGuire PW2000 | 87.70 |
|  | Carrier: Watts TCA-411 | 745.00 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
|  | OR WHERE ADA IS REUIRED USE BELOW |  |
| P-2 | Faucet: T&S Brass B-2711 | 199.00 |
|  | Drain: McGuire 155WCECO | 36.04 |
|  | P-Trap: McGuire 8872CECO | 36.66 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | Insulation: McGuire PW2000WC | 105.30 |
|  | Carrier: Watts TCA-411 | 745.00 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| P-3-3A-4 | Faucet: T&S Brass B-2866-05 | 299.00 |
|  | Drain: McGuire 151A | 36.28 |
|  | P-Trap: McGuire 8912CECO | 38.93 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| P-5 | ETMV: Leonard TA300-LF | 675.00 |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 497.00 |
|  | 4” CO-204-R-P | 663.00 |
|  | For carpeted floors add –CF | 214.00 |
|  | For Vandal Proof add -6 | 72.00 |
| WCO | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 314.00 |
|  | 4” CO-464-RD | 460.00 |
| COTG | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 367.00 |
|  | 4” CO-204-RX-4-P | 449.00 |
|  | For Vandal Proof add -6 | 72.00 |
| EWCO | Wall Cleanout: Watts |  |
|  | 3” CO-300S7-CO-383 | 565.00 |
|  | 4” CO-300S7-CO-384 | 608.00 |
| FD-1 | Floor Drain: Watts FD-100-ER-P | 780.00 |
| FS-1 | Floor Sink: Watts FS-710-F-1 | 1647.00 |
| NFWH | Hydrant: Watts HY-725-88 | 1271.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |