P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Fayetteville Schools Building Repairs | Quote #: | 12720-01R |
| --- | --- | --- | --- |
| Location: | Fayetteville, AR | Bid Date: | ASAP |
| Architect: | FPS | Date: | 12/7/20 |
| Engineer: | HP | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| CP-1 | Circulating Pump: Armstrong ASTRO230SS price includes freight | 383.00 |
|  | Timer if Required (810223-130) | 134.00 |
|  | Aquastat if Required (110123-121) | 50.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 87.00 |
|  | 1” (816012-841) | 87.00 |
|  | 1.25(816011-841) | 99.00 |
|  | 1.5 (816009-841) | 111.00 |
| F-1 | Faucet: T&S Brass 5SL-1000 | 99.00 |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 661.00 |
|  | 4” CO-204-R-P | 881.00 |
|  | For carpeted floors add –CF | 285.00 |
|  | For Vandal Proof add -6 | 96.50 |
| FD-1 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| FS-1 | Floor Sink: Watts FS-740-1 | 2979.00 |
| JF-1 | Faucet: T&S Brass B-0665BSTP | 274.50 |
| JS-1 | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| L-1 | Faucet: T&S Brass 5SL-1000 | 99.00 |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 42.51 |
|  | P-Trap: McGuire C8872CECO | 43.24 |
|  | Stops & Supplies: McGuire LF170LK | 58.63 |
|  | Insulation: McGuire PW2000WC | 130.44 |
|  | Carrier: Watts TCA-411 | 989.50 |
| S-1 | Sink: Just |  |
|  | Faucet: T&S Brass B-0231 | 245.00 |
|  | Drain: TS BRASS B-3950 | 119.00 |
|  | P-Trap: McGuire C8912CECO | 45.93 |
|  | Stops & Supplies: McGuire LF170LK | 58.63 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| TMV-1 | 1070 Listed TMV: Leonard 270-LF | 180.00 |
| WC-1 | Flush Valve: Delany S402-1.6-T42 | 171.00 |
| UR-1 | Flush Valve: Delany S451-1-T42 | 171.00 |
|  | Carrier: Watts CA-421 | 752.00 |
| EWC-1 | Water Cooler: Oasis PGF8EBF | 1735.50 |
|  | Apron: Oasis 035174-003 | 76.50 |
|  | P-Trap: McGuire C8872CECO | 43.24 |
|  | Stops & Supplies: McGuire LFST12LK | 15.37 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| EWC-2 | Water Cooler: Oasis PGF8EBFSL | 2448.00 |
|  | Apron: Oasis 035174-003 | 76.50 |
|  | P-Trap: McGuire C8872CECO | 43.24 |
|  | Stops & Supplies: McGuire LFST12LK | 15.37 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |