P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Gravette Middle School | Quote #: | 121318-04R |
| --- | --- | --- | --- |
| Location: | Gravette, AR | Bid Date: | ASAP |
| Architect: | BiLD | Date: | 12/13/18 |
| Engineer: | HSA | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1 | Flush Valve: Delany 402-1.6-T42-SMO | 375.00 |
| P-2 | Faucet: T&S Brass B-2711 | 206.50 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Drain: McGuire 155AECO | 21.80 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000 | 98.54 |
|  | Carrier: Watts TCA-411 | 899.00 |
| P-3 | Faucet: T&S Brass B-2866-05 | 306.50 |
|  | Drain: McGuire 151A | 40.76 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
| P-4 | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 443.00 |
|  | 4” CO-204-RX-4-P | 542.00 |
| P-5 | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 379.50 |
|  | 4” CO-464-RD | 555.50 |
| P-9 | Floor Drain: Watts FD-100-5A-P | 437.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |