P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Greenhouse at Rice Research | Quote #: | 52217-02R |
| --- | --- | --- | --- |
| Location: | Stuttgart, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 5/22/17 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2017

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| S-1 | Faucet: T&S Brass B-2741/2387 | 404.00 |
|  | Drain: McGuire 151A | 36.28 |
|  | P-Trap: McGuire 8912CECO | 38.93 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| S-2 | Faucet: T&S Brass B-2743/2387 | 454.00 |
|  | Drain: McGuire 151A | 36.28 |
|  | P-Trap: McGuire 8912CECO | 38.93 |
|  | Stops & Supplies: McGuire LF2165LK | 35.23 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| DF-1 | Water Cooler: Oasis MMSLPM | 3039.00 |
|  | P-Trap: McGuire 8872CECO | 36.66 |
|  | Stops & Supplies: McGuire LFST12LK | 13.03 |
|  | Carrier Bi-Level: Watts CA-431-1 | 914.00 |
|  | Carrier: Watts CA-421 | 566.00 |
| FD-1 | Floor Drain: Watts FD-100-5A-P | 362.00 |
| SWD-1 | Floor Drain: Watts FD-100-EF-1-P | 684.00 |
| TD-1 | Trench Drain: Watts Dead Level P W/GP Grates and GALV Frame Guard | 376.00ft |
|  | Complete dead level system with channels, frames grates, lockdowns, frame connectors, end caps, construction covers, and hardware as required. |  |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 497.00 |
|  | 4” CO-204-R-P | 663.00 |
|  | For carpeted floors add –CF | 214.00 |
|  | For Vandal Proof add -6 | 72.00 |
| TWCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 367.00 |
|  | 4” CO-204-RX-4-P | 449.00 |
|  | For Vandal Proof add -6 | 72.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |