P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Har- Ber High School Dressing Facility | Quote #: | 6820-02R |
| --- | --- | --- | --- |
| Location: | Springdale, AR | Bid Date: | ASAP |
| Architect: |  | Date: |  |
| Engineer: | HSA | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1-2 | Flush Valve: Delany 402-1.6-T42-SMO | 375.00 |
| P-3-4 | Faucet: T&S Brass B-2711-LH | 227.50 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Drain: McGuire 155AECO | 21.80 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | Insulation: McGuire PW2000 | 103.47 |
|  | Carrier: Watts TCA-411 | 989.50 |
| P-5 | WILLOUGHBY CWSMS-ADA-TPLR-2.0GPM-FX | 1236.00 |
|  | WRITTEN SPEC/ FIXTURE SCHEDULW IS VAGUE AND/ OR CONTRADICTORY, IF FIXTURE CONFIGURATION CHANGES CONTACT PSA FOR PRICING |  |
| P-6 | WILLOUGHBY CWSMSH-TPLR-2.0GPM-FX | 1216.00 |
|  | WRITTEN SPEC/ FIXTURE SCHEDULW IS VAGUE AND/ OR CONTRADICTORY, IF FIXTURE CONFIGURATION CHANGES CONTACT PSA FOR PRICING |  |
| P-8 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| P-9 | Floor Sink: Watts FS-710-F-1 | 2188.50 |
| P-10 | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| P-11 | Floor Cleanout: Watts |  |
| P-17 | 3” CO-203-RX-4-P | 487.50 |
|  | 4” CO-204-RX-4-P | 596.50 |
|  | For Vandal Proof add -6 | 96.50 |
| P-12 | RINNAI |  |
|  | 2 UNIT STACK RACK MTO-00214 | 9000.00 |
|  | CASCADE HARNESS REU-CSA-C1 | 44.00 |
|  | COMMERCIAL NEUTRALIZATION TANK | 493.00 |
|  | EST FREIGHT | 376.71 |
| P-15 | Shower Valve: Leonard 4500-501P(G) | 495.00 |
| P-16 | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 70.60 |
|  | Hose & Hook: T&S Brass B-0654 | 42.50 |
| CP-1 | Circulating Pump: Armstrong ASTRO220SSU price includes freight | 394.00 |
|  | Timer if Required (810223-130) | 134.00 |
|  | Aquastat if Required (110123-121) | 50.00 |
|  | UNIONS |  |
|  | 1.25 NPSM X 0.5 SWEAT | 80.00 |
|  | 1.25 NPSM X .75 SWEAY | 80.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |