P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Interventional Pain Clinic | Quote #: | 51920-09R |
| --- | --- | --- | --- |
| Location: | Ft Smith, AR | Bid Date: | ASAP |
| Architect: |  | Date: |  |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1-2 | Stops & Supplies: McGuire LF2166LK | 23.93 |
| P-3-4 | Faucet: T&S Brass B-2711-LH | 227.50 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Drain: McGuire 155AECO | 21.80 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | Insulation: McGuire PW2000 | 103.47 |
|  | Carrier: Watts TCA-411 | 989.50 |
| P-5 | Sink: Just SL-1815-A-GR | 300.60 |
|  | Faucet: T&S Brass B-2866-05 | 334.50 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 103.47 |
| P-6 | Sink: Just SL-17519-A-GR | 313.40 |
|  | Faucet: T&S Brass B-2866-05 | 334.50 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 103.47 |
| P-7 | Sink: Just DL-ADA-2233-A-GR | 556.30 |
|  | Faucet: T&S Brass B-2866-05 | 334.50 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 103.47 |
| P-8 | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 70.60 |
|  | Hose & Hook: T&S Brass B-0654 | 42.50 |
| P-9 | Water Cooler: Oasis PG8AC | 853.50 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
|  | Carrier Bi-Level: Watts CA-431-1 | 960.00 |
|  | Carrier: Watts CA-421 | 594.00 |
| P-10 | Shower Valve: Leonard 4500-501P(G) | 495.00 |
| P-14 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| P-15 | Floor Sink: Watts FS-710-F-1 | 2188.50 |
| P-17 | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| P-18 | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 487.50 |
|  | 4” CO-204-RX-4-P | 596.50 |
|  | For Vandal Proof add -6 | 96.50 |
| P-19 | Tankless Water Heater: Rinnai RU199In Isolation Valve Included | 2222.00 |
|  | Does not include any venting, venting layout unknown |  |
|  | Controller REU-MSB-M if needed | 185.00 |
|  | Slave REU-MSB-C1 if needed | 57.00 |
|  | EZ Connect Cable if needed | 56.00 |
| P-20 | Water Hammer Arrestor: Watts SS |  |
|  | A 1-11 Fixtures | 549.50EA |
|  | B 12-32 Fixtures | 1119.00ea |
|  | C 33-60 Fixtures | 1672.00ea |
|  | D 61-113 Fixtures | 4191.00ea |
|  | E 114-154 Fixtures | 4731.50ea |
| CP-1 | Circulating Pump: Armstrong E9.2B price includes freight | 975.00 |
|  | Timer if Required (810223-130) | 164.00 |
|  | Aquastat if Required (110123-121) | 50.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 87.00 |
|  | 1” (816012-841) | 87.00 |
|  | 1.25(816011-841) | 99.00 |
|  | 1.5 (816009-841) | 111.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |