P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Kiamichi Tech Center | Quote #: | 11719-02R |
| --- | --- | --- | --- |
| Location: | Poteau, OK | Bid Date: | ASAP |
| Architect: | Michael Allen Riley | Date: | 1/17/19 |
| Engineer: | EE | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| HL | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000WC | 118.31 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
| EWC-1 | Water Cooler: Oasis PG8AC | 853.50 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
| EW-1 | Safety Station: Encon CC2251 | 617.00 |
|  | ETMV: Leonard TM800-LF | 1350.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |