P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Lincoln AG | Quote #: | 92519-04R |
| --- | --- | --- | --- |
| Location: |  | Bid Date: | ASAP |
| Architect: |  | Date: | 9/25/19 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 90 DAYS DO TO TARIFFS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| EWC-1 | Water Cooler: Oasis PG8ACSL | 1414.00 |
|  | Apron: Oasis 035174-001 | 59.83 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| FD-1 | Floor Drain: Watts FD-100-5M-P | 643.00 |
| FPHB-1 | Hydrant: Watts HY-725-88 | 1690.00 |
| HL-1 | Faucet: T&S Brass 5SL-1000 | 99.00 |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.19 |
|  | Stops & Supplies: McGuire LF170LK | 53.19 |
|  | Insulation: McGuire PW2000WC | 118.31 |
|  | Carrier: Watts TCA-411 | 989.50 |
| HWC-1 | Flush Valve: Delany U402-1.6-T42 | 119.00 |
| JS-1 | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| TD-1 | Trench Drain: Watts Dead Level P W/SS Grates | 582.00FT |
|  | Complete dead level system with channels, frames grates, lockdowns, frame connectors, end caps, construction covers, and hardware as required. |  |
| TMV-1 | 1070 Listed TMV: Leonard 270-LF | 180.00 |
| UR-1 | Flush Valve: Delany 451-1-T42 | 116.00 |
|  | Carrier: Watts CA-421 | 752.00 |
| WCO | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| WHA | Water Hammer Arrestor: Watts LF15M2-DR |  |
|  | A 1-11 Fixtures | 175.00EA |
|  | B 12-32 Fixtures | 336.00EA |
| ` | C 33-60 Fixtures | 529.50EA |
|  | D 61-113 Fixtures | 1118.00ea |
|  | E 114-154 Fixtures | 1390.50ea |
|  | F 155-330 Fixtures | 1656.00ea |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |