P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | MFH Psychiatric Residential Treatment | Quote #: | 122816-04R |
| --- | --- | --- | --- |
| Location: | Little Rock, AR | Bid Date: | ASAP |
| Architect: | Klinco | Date: | 12/28/16 |
| Engineer: | TME | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2017

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | WILLOUGHBY BETF-1490-FM-FA-12-BS-1.6-FV1.6-FVT | 3345.00 |
|  | Flush Valve: Delany I1402-1.6-T42 | 450.00 |
| WC-2 | Carrier: Watts Horizontal L/R ISCA-103-XHD-750 | 2326.00 |
|  | Back to Back Horizontal ISCA-103-D-XHD-750 | 4490.00 |
|  | Vertical L/R ISCA-123-XHD-750 | 2630.00 |
|  | Back to Back Vertical ISCA-123D-XD-750 | 5080.00 |
| L-2 | Faucet: T&S Brass B-2701 | 258.50 |
|  | Grid Drain: McGuire 155WCECO | 34.32 |
|  | P-Trap: McGuire C8872CECO | 34.91 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 11.32 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 51.03 |
|  | Carrier: Watts TCA-411 | 702.00 |
|  | Insulation: McGuire PW2000WC | 101.25 |
|  | Mixing Valve: Leonard 170-LF | 165.00 |
| SS-1 | Faucet: T&S Brass B-0665BSTP | 245.00 |
|  | Mop Hanger: T&S Brass B-0653 | 66.10 |
|  | Hose & Hook: T&S Brass B-0654 | 39.50 |
| S-1 | Faucet: T&S Brass B-2741/0199-07 | 325.53 |
|  | Strainer: McGuire 151A | 34.54 |
|  | P-trap: McGuire C8912CECO | 37.07 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 11.50 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 51.03 |
| S-2 | Faucet: T&S Brass B-2730/0199-07/cer | 289.50 |
|  | Strainer: McGuire 151A | 34.54 |
|  | P-trap: McGuire C8912CECO | 37.07 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 11.50 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 51.03 |
| EWC-1 | Water Cooler: Oasis PG8ACSL | 1313.00 |
|  | P-trap: McGuire 8088C | 51.38 |
|  | Stops & Supplies: McGuire LFST17LK | 11.73 |
|  | Carrier Bi-Level: Watts CA-431-1 | 862.00 |
| FD-1 | Floor Drain: Watts FD-100-6M-P | 509.00 |
| RD-1 | Roof Drain: Watts |  |
|  | 2”-4” RD-300-D-F-B | 1330.00 |
|  | 5”-6” RD-300-D-F-B | 1547.00 |
|  | 8” RD-300-D-F-B | 1762.00 |
| ORD-1 | Roof Drain: Watts |  |
|  | 2”-4” RD-300-D-F-B-W | 1628.00 |
|  | 5”-6” RD-300-D-F-B-W | 1845.00 |
|  | 8” RD-300-D-F-B-W | 2060.00 |
| DN-1 | Downspout Nozzle: Watts |  |
|  | RD-942-4” | 766.00 |
|  | RD-945-6 | 1376.00 |
|  | RD-948 | 1884.00 |
| FPWH | Hydrant: Watts HY-725-12 | 1198.00 |
| COP | Cleanout Plug: Watts |  |
|  | 3” CO-383 | 106.00 |
|  | 4” CO-384 | 146.00 |
| WCO | Wall Cleanout: Watts |  |
|  | 3” CO-383-RD | 204.00 |
|  | 4” CO-384-RD | 244.00 |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P-6 | 540.00 |
|  | 4” CO-204-R-P-6 | 752.00 |
| COTG | Floor Cleanout: Watts |  |
| DCOTG | 3” CO-203-RX-4-P-6 | 416.00 |
|  | 4” CO-204-RX-4-P-6 | 496.00 |
| WHA | Water Hammer Arrestor: Watts SS |  |
|  | A 1-11 Fixtures | 390.00ea |
|  | B 12-32 Fixtures | 790.00ea |
|  | C 33-60 Fixtures | 1186.00ea |
|  | D 61-113 Fixtures | 2922.00ea |
|  | E 114-154 Fixtures | 3354.00ea |
|  | F 155-330 Fixtures | 4122.00ea |
| TMV-1 | Mixing Valve: Leonard MEGATRON 6NB-LF | 15900.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |