P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Mystic Creek Clubhouse | Quote #: | 11119-04R |
| --- | --- | --- | --- |
| Location: | El Dorado, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 11/1/19 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 90 DAYS DO TO TARIFFS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany U1802-1.6-T42-23241-3 | 595.00 |
|  | Carrier: Watts Horizontal L/R ISCA-101 | 1443.00 |
|  | Back to Back Horizontal ISCA-101-D | 2697.00 |
|  | Vertical L/R ISCA-131 | 2105.00 |
|  | Back to Back Vertical ISCA-131D | 3479.50 |
|  | “XHD” 750LB ISCA-103-L/R | 3284.00 |
|  | Back To Back “XHD” 750LB ISCA-103-D | 6327.50 |
|  | “XHD” 1000LB ISCA-102-L/R | 4641.00 |
|  | Back To Back “XHD” 1000LB ISCA-102-D | 8950.00 |
| UR-1 | Flush Valve: Delany U1851-1-T42-23241-1.5 | 595.00 |
|  | Carrier: Watts CA-421 | 752.00 |
| L-1 | Faucet: T&S Brass |  |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO AS ALTERNATE NOT BRONZE FINISH | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFBV2165 | 48.11 |
|  | Insulation: McGuire PW2000WC | 118.31 |
|  | Carrier: Watts TCA-411 | 989.50 |
| MB-1 | Faucet: T&S Brass B-0665BSTR-CR | 225.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| EWC-1 | Water Cooler: Oasis M8CREBF | 4962.00 |
|  | Apron: Oasis 035174-001 | 59.83 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| LT-1 | Faucet: T&S Brass B-1111 | 173.50 |
| FPHB-1 | Hydrant: Watts HY-700-12 | 4093.50 |
| WHA | Water Hammer Arrestor: Watts LF15M2-DR |  |
|  | A 1-11 Fixtures | 175.00EA |
|  | B 12-32 Fixtures | 336.00EA |
| ` | C 33-60 Fixtures | 529.50EA |
|  | D 61-113 Fixtures | 1118.00ea |
|  | E 114-154 Fixtures | 1390.50ea |
|  | F 155-330 Fixtures | 1656.00ea |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 661.00 |
|  | 4” CO-204-R-P | 881.00 |
|  | For carpeted floors add –CF | 285.00 |
|  | For Vandal Proof add -6 | 96.50 |
| WCO | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| COTG | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 487.50 |
|  | 4” CO-204-RX-4-P | 596.50 |
|  | For Vandal Proof add -6 | 96.50 |
| FD-1 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| FD-2 | Floor Drain: Watts FD-330-P | 987.00 |
| FS-1 | Floor Sink: Watts FS-710-F-1 | 2188.50 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |