P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Oklahoma Heart Hospital South | Quote #: | 112817-01R |
| --- | --- | --- | --- |
| Location: | OKC, OK | Bid Date: | ASAP |
| Architect: | WHR | Date: | 11/28/17 |
| Engineer: | TME | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2018

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1-4 | Grid Drain: McGuire 155WCECO | 36.04 |
|  | P-Trap: McGuire C8872CECO | 36.66 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 11.90 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 53.60 |
|  | Insulation: McGuire PW2000WC | 101.25 |
|  | TMV if Required: Leonard 170A-LF-BP-BRKT-CP | 237.00 |
| S-1 | Drain: McGuire 152 | 39.90 |
|  | P-Trap: McGuire 8912CECO | 38.93 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 12.08 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 53.58 |
|  | TMV if Required: Leonard 170A-LF-BP-BRKT-CP | 237.00 |
| EWC-1 | Water Cooler: Oasis PGF8EBFSL-STN | 2330.00 |
|  | P-trap: McGuire 8088C | 53.96 |
|  | Stops & Supplies: McGuire LFST17LK | 12.32 |
| SH-1-2 | Shower Valve: Leonerd 7600-D2L-62001 | 856.00 |
|  | AC-11 by others |  |
| EEW-1 | Emergency Eyewash: Encon 01045001SBC | 865.00 |
|  | P-Trap: McGuire C8872CECO | 36.66 |
|  | TAIL PIECE: MCGUIRE TL12506017 | 11.39 |
|  | ETMV: Leonard TA300-LF | 675.00 |
| EEW-2 | Emergency Eyewash: Encon 01090012 | 425.00 |
|  | ETMV: Leonard TA300-LF | 675.00 |
| EEWS-1 | Emergency Eyewash: Encon 01045001SBC/01053001P20 | 1188.00 |
|  | ETMV: Leonard TM800-LF | 1250.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |