P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Ozark Point WTP | Quote #: | 61119-02R |
| --- | --- | --- | --- |
| Location: | Little Rock, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 6/11/19 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 90 DAYS DO TO TARIFFS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1 | Flush Valve: Delany U402-1.6-T42 | 119.00 |
| P-2 | Shower Valve: Leonard 4501 | 282.00 |
| P-3-7 | Faucet: T&S Brass 5SL-1000 | 96.50 |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | Insulation: McGuire PW2000WC | 118.31 |
|  | Carrier: Watts TCA-411 | 989.50 |
| P-4 | Faucet: T&S Brass B-2730 | 288.00 |
|  | Drain: McGuire 151A | 40.76 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 39.58 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 98.54 |
| P-5 | Emergency Eyewash: Encon CC4261 | 889.00 |
|  | ETMV: Leonard TM600-LF | 1250.00 |
| P-6 | Flush Valve: Delany U451-1-T42 | 119.00 |
|  | Carrier: Watts CA-421 | 752.00 |
| P-8 | Faucet: T&S Brass B-0665BSTR-CR | 214.50 |
|  | Mop Hanger: T&S Brass B-0653 | 70.60 |
|  | Hose & Hook: T&S Brass B-0654 | 42.50 |
| FD-1 | Floor Drain: Watts FD-100-6A-P | 573.00 |
| FD-2 | Floor Drain: Watts FD-100-8A-P | 851.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |