P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Profile By Stanford | Quote #: | 6518-04R |
| --- | --- | --- | --- |
| Location: | Little Rock, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 6/5/18 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2018

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| SS-1 | Faucet: T&S Brass B-0669-POL | 276.00 |
|  | Mop Hanger: T&S Brass B-0653 | 67.80 |
|  | Hose & Hook: T&S Brass B-0654 | 40.50 |
| S-1 | Faucet: T&S Brass NO EQUAL |  |
|  | Drain: McGuire 151A | 38.09 |
|  | P-Trap: McGuire C8912CECO | 40.88 |
|  | Stops & Supplies: McGuire LF2165LK | 36.99 |
|  | 1070 Listed TMV: Leonard 170A-LF | 150.00 |
|  | Insulation: McGuire PW2000 | 92.09 |
| TMV | 1070 Listed TMV: Leonard 270-LF | 170.00 |
| WC-1 | Stops & Supplies: McGuire LF2166LK | 21.30 |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 522.00 |
|  | 4” CO-204-R-P | 696.00 |
|  | For carpeted floors add –CF | 225.00 |
|  | For Vandal Proof add -6 | 76.00 |
| WCO | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 330.00 |
|  | 4” CO-464-RD | 483.00 |
| COTG | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 385.00 |
|  | 4” CO-204-RX-4-P | 471.00 |
|  | For Vandal Proof add -6 | 76.00 |
| FD-1 | Floor Drain: Watts FD-100-5A-P | 380.00 |
| L-1 | Faucet: T&S Brass |  |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 150.00 |
|  | Drain: McGuire 155WCECO | 37.84 |
|  | P-Trap: McGuire C8872CECO | 38.49 |
|  | Stops & Supplies: McGuire LF2165LK | 36.99 |
|  | Insulation: McGuire PW2000WC | 110.57 |
|  | Carrier: Watts TCA-411 | 782.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |