P.S.A., Inc.

www.psaincorporated.com

#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | TLC Pediatrics | Quote #: | 21717-02R |
| --- | --- | --- | --- |
| Location: | Conway, AR | Bid Date: | ASAP |
| Architect: | Sowell | Date: | 2/17/17 |
| Engineer: | HSA | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2017

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1 | Flush Valve: Delany 402-1.6-T42-SMO | 375.00 |
| P-2-3 | Stops & Supplies: McGuire LF2166LK | 19.32 |
| P-4-5 | Faucet: T&S Brass EC-3103-HW | 900.00 |
|  | Drain: McGuire 155AECO | 18.48 |
|  | P-Trap: McGuire 8872CECO | 34.91 |
|  | Stops & Supplies: McGuire LF2165LK | 33.55 |
|  | Insulation: McGuire PW2000 | 83.52 |
|  | Carrier: Watts TCA-411 | 702.00 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| P-6-7 | Faucet: T&S Brass B-2866-05 | 299.00 |
|  | Drain: McGuire 151A | 34.54 |
|  | P-Trap: McGuire 8912CECO | 37.07 |
|  | Stops & Supplies: McGuire LF2165LK | 33.55 |
|  | TMV if Required: Leonard 170-LF | 165.00 |
| P-9 | Shower Valve: Leonard 4500-501P(G) | 445.00 |
| P-13 | Water Cooler: Oasis PGV8AC-14G | 2845.00 |
|  | P-Trap: McGuire 8872CECO | 34.91 |
|  | Stops & Supplies: McGuire LFST12LK | 11.73 |
|  | Carrier Bi-Level: Watts CA-431-1 | 862.00 |
|  | Carrier: Watts CA-421 | 534.00 |
| P-15 | Faucet: T&S Brass B-0665BSTR | 200.50 |
|  | Mop Hanger: T&S Brass B-0653 | 66.10 |
|  | Hose & Hook: T&S Brass B-0654 | 39.50 |
| P-16 | Tankless Water Heater: Rinnai RUC98i Isolation Valve Included | 1960.00ea |
|  | Does not include any venting, venting layout unknown |  |
|  | Controller REU-MSB-M if needed | 150.00 |
|  | Slave REU-MSB-C1 if needed | 46.00 |
|  | EZ Connect Cable if needed | 22.00 |
| P-17 | Floor Drain: Watts FD-100-5A-P | 342.00 |
| P-18 | Floor Sink: Watts FS-710-F-1 | 1552.00 |
| P-20 | Wall Cleanout: Watts |  |
|  | 3” CO-463-RD | 296.00 |
|  | 4” CO-464-RD | 436.00 |
| P-21 | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 346.00 |
|  | 4” CO-204-RX-4-P | 426.00 |
| CP-1 | Circulating Pump: Armstrong E17.2B W/AST price includes freight | 2025.00 |
|  | Companion Flanges |  |
|  | ¾ | 72.00 |
|  | 1” | 72.00 |
|  | 1.25 | 82.00 |
|  | 1.5 | 93.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |