P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | UCA Carmichael Hall | Quote #: | 52319-01R |
| --- | --- | --- | --- |
| Location: | Conway, AR | Bid Date: | ASAP |
| Architect: | Stocks Mann | Date: | 5/23/19 |
| Engineer: | TME | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2019

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1-2 | Flush Valve: Delany I1402-1.6-T42 | 450.00 |
| WC-3 | Stops & Supplies: McGuire LF2166CC | 20.03 |
| L-1-2-3 | Faucet: T&S Brass NO EQUAL |  |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 13.38 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 60.19 |
|  | Carrier: Watts TCA-411 | 989.50 |
|  | Insulation: McGuire PW2000WC | 118.31 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-1 | Faucet: T&S Brass B-2730/0199-07 | 278.00 |
|  | Drain: McGuire 151A | 40.76 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 13.57 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 60.19 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| SH-1 | Shower Valve: Leonerd 4500-D2L-62001-H-06-ADJ | 900.00 |
| SH-2 | Shower Valve: Leonerd 4500-H-06-ADJ | 390.00 |
| EWC-1 | Water Cooler: Oasis PGVF8EBFSL | 2740.50 |
|  | P-trap: McGuire 8088C | 60.63 |
|  | Stops & Supplies: McGuire LFST17LK | 13.85 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| EWC-2 | Water Cooler: Oasis PGVF8EBF | 2088.00 |
|  | P-trap: McGuire 8088C | 60.63 |
|  | Stops & Supplies: McGuire LFST17LK | 13.85 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| FD-1 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| WH-1 | RINNAI TANKLESS RACK SYSTEM |  |
|  | TRS04CUiN | 16076.00 |
|  | CASCADE HARNES (X4) REU-CSA-C1 | 39.00EA |
|  | EST FREIGHT | 463.00 |
| WH-2 | RINNAI TANKLESS RACK SYSTEM |  |
|  | TRS06CUiN | 24171.00 |
|  | CASCADE HARNES (X5) REU-CSA-C1 | 39.00EA |
|  | EST FREIGHT | 600.00 |
| HWRP-1 | Re-Circulating Pump: Armstrong E7.2B price includes freight | 899.00 |
|  | Companion Flanges |  |
|  | ¾ | 72.00 |
|  | 1” | 72.00 |
|  | 1.25 | 82.00 |
|  | 1.5 | 93.00 |
| WHA | Water Hammer Arrestor: Watts SS |  |
|  | A 1-11 Fixtures | 549.50EA |
|  | B 12-32 Fixtures | 1119.00ea |
|  | C 33-60 Fixtures | 1672.00ea |
|  | D 61-113 Fixtures | 4191.00ea |
|  | E 114-154 Fixtures | 4731.50ea |
|  | F 155-330 Fixtures | 5815.00ea |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |