P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | WRMC Cancer Support | Quote #: | 32620-01R |
| --- | --- | --- | --- |
| Location: | Fayetteville, AR | Bid Date: | ASAP |
| Architect: | DEMX | Date: | 3/26/20 |
| Engineer: | HP | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| COTG | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 487.50 |
|  | 4” CO-204-RX-4-P | 596.50 |
|  | For Vandal Proof add -6 | 96.50 |
| CP-1 | Circulating Pump: Armstrong ASTRO286SS price includes freight | 629.00 |
|  | Timer if Required (810223-130) | 131.00 |
|  | Aquastat if Required (110123-121) | 49.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 87.00 |
|  | 1” (816012-841) | 87.00 |
|  | 1.25(816011-841) | 99.00 |
|  | 1.5 (816009-841) | 111.00 |
| FCO | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 661.00 |
|  | 4” CO-204-R-P | 881.00 |
|  | For carpeted floors add –CF | 285.00 |
|  | For Vandal Proof add -6 | 96.50 |
| FD-1 | Floor Drain: Watts FD-1100-5M-P | 766.00 |
| FS-1 | Floor Sink: Watts FS-740-1 | 2979.00 |
| GWH-1 | Water Heater: Rinnai COMMERCIAL CHS199-100CUiN AS ALTERNATE | 8132.00 |
|  | DEMAND DUO TANK TANKLESS |  |
| HL-1-2 | Faucet: T&S Brass NO EQUAL |  |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.19 |
|  | Stops & Supplies: McGuire LF170LK | 55.84 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | Carrier: Watts TCA-411 | 989.50 |
| HS-1 | Sink: Just JZRS20975 | 426.20 |
|  | Faucet: T&S Brass B-2742/2387 AS ALTERNATE | 463.50 |
|  | Drain: McGuire 151M | 56.08 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF170LK | 55.84 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| HSH-1 | Shower Valve: Leonard 4505 | 685.00 |
| HWC-1 | Flush Valve: Delany S402-1.6-T42 | 171.00 |
| JS-1 | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| S-1 | Sink: Just DL-ADA-2233-A | 556.30 |
|  | Faucet: T&S Brass B-1172-07-133X | 334.00 |
|  | Drain: McGuire 151M | 56.08 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF170LK | 55.84 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| SCO | Wall Cleanout: Watts |  |
| WCO | 3” CO-463-RD | 417.50 |
|  | 4” CO-464-RD | 611.50 |
| TMV-1 | 1070 Listed TMV: Leonard 270-LF | 180.00 |
| TWCO-1 | Floor Cleanout: Watts |  |
|  | 3” CO-203-RX-4-P | 487.50 |
|  | 4” CO-204-RX-4-P | 596.50 |
|  | For Vandal Proof add -6 | 96.50 |
| WHA | Water Hammer Arrestor: Watts LF15M2-DR |  |
|  | A 1-11 Fixtures | 175.00EA |
|  | B 12-32 Fixtures | 336.00EA |
| ` | C 33-60 Fixtures | 529.50EA |
|  | D 61-113 Fixtures | 1118.00ea |
|  | E 114-154 Fixtures | 1390.50ea |
|  | F 155-330 Fixtures | 1656.00ea |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |