P.S.A., Inc.

www.psaincorporated.com 
#5 Innwood Circle, Suite 106

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Walton Arts Center
	Quote #:
	33114-01R

	Location:
	Walton, AR
	Bid Date:
	ASAP

	Architect:
	
	Date:
	3/31/14

	Engineer:
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                                                                                                                           COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	CTL-1
	Faucet: T&S Brass B-0831
	304.50

	
	Drain: McGuire 155AECO
	17.77

	
	P-Trap: McGuire B8872CF
	51.54

	
	Stops & Supplies: McGuire LF2165CCLK
	30.97

	
	Insulation: McGuire PW2000
	80.31

	
	Carrier: Watts TCA-411
	650.00

	
	TMV if Required: Leonard 170-LF
	165.00

	
	
	

	CTL-4
	Faucet: T&S Brass EC-3103-HW
	703.50

	
	Drain: McGuire 155AECO
	17.77

	
	P-Trap: McGuire B8872CF
	51.54

	
	Stops & Supplies: McGuire LF2165CCLK
	30.97

	
	Insulation: McGuire PW2000
	80.31

	
	Carrier: Watts TCA-411
	650.00

	
	TMV if Required: Leonard 170-LF
	165.00

	
	
	

	DSN-1
	Downspout Nozzle: Watts 
	

	
	RD-942-4”
	708.00

	
	RD-945-6
	1273.00

	
	RD-948
	1743.00

	
	
	

	FD-1
	Floor Drain: Watts FD-100-6A-P
	387.00

	
	
	

	FD-3
	Floor Drain: Watts FD-100-6M-P
	431.00

	
	
	

	FD-7
	Floor Drain: Watts FD-320-Y-SET
	393.00

	
	
	

	FS-4
	Floor Sink: Watts FS-730-F-1-150
	2136.00

	
	
	

	JS-1
	Faucet: T&S Brass B-0665BSTR
	192.50

	
	Mop Hanger: T&S Brass B-0653
	63.50

	
	Hose & Hook: T&S Brass B-0654
	37.50

	
	
	

	ORD-1
	Roof Drain: Watts
	

	
	2”-4” RD-300-D-K-B-R
	1087.00

	
	5”-6” RD-300-D-K-B-R
	1288.00

	
	8”     RD-300-D-K-B-R
	1487.00

	
	
	

	ORD-3
	Roof Drain: Watts RD-200-D-B-K-R
	739.00

	
	
	

	RD-1
	Roof Drain: Watts
	

	
	2”-4” RD-300-D-K-B
	935.00

	
	5”-6” RD-300-D-K-B
	1136.00

	
	8”     RD-300-D-K-B
	1335.00

	
	
	

	RSL
	Faucet: T&S Brass EC-3103-HW
	703.50

	
	Drain: McGuire 155AECO
	17.77

	
	P-Trap: McGuire B8872CF
	51.54

	
	Stops & Supplies: McGuire LF2165CCLK
	30.97

	
	Insulation: McGuire PW2000
	80.31

	
	Carrier: Watts TCA-411
	650.00

	
	TMV if Required: Leonard 170-LF
	165.00

	
	
	

	SK-1-2
	Faucet: T&S Brass B-0892-01QT
	248.00

	
	Drain: McGuire 151M
	43.54

	
	P-Trap: McGuire B8912CF
	56.18

	
	Stops & Supplies: McGuire LF2165CC
	29.33

	
	
	

	SK-3
	Faucet: T&S Brass B-2866-05
	300.50

	
	Drain: McGuire 151M
	43.54

	
	P-Trap: McGuire B8912CF
	56.18

	
	Stops & Supplies: McGuire LF2165CC
	29.33

	
	
	

	SK-11-13
	Faucet: T&S Brass B-0667-POL
	236.00

	
	
	

	SS-1
	Faucet: T&S Brass B-0665BSTR
	192.50

	
	Mop Hanger: T&S Brass B-0653
	63.50

	
	Hose & Hook: T&S Brass B-0654
	37.50

	
	
	

	SV-1
	Shower Valve: Leonard 4505-30
	576.00

	
	
	

	TMV-1
	TMV if Required: Leonard 170-LF
	165.00

	
	
	

	UR-1
	Flush Valve: Delany I1451-1-T42
	550.00

	
	Carrier: Watts CA-421
	494.00

	
	
	

	WC-1
	Flush Valve: Delany I1402-1.6-T42
	550.00

	
	Carrier: Watts  Horizontal L/R  ISCA-101
	1043.00

	
	                            Back to Back Horizontal ISCA-101-D
	1951.00

	
	                            Vertical L/R  ISCA-131
	1382.00

	
	                            Back to Back Vertical ISCA-121D
	2086.00

	
	Single Add For “XHD”
	384.65

	
	Back To Back Add For “XHD”
	769.30

	
	
	

	WHA
	Water Hammer Arrestor: Watts SS
	

	
	 A                                                                                                                    1-11 Fixtures
	361.00ea

	
	 B                                                                                                                  12-32 Fixtures
	730.00ea

	
	 C                                                                                                                 33-60 Fixtures
	1098.00ea

	
	D                                                                                                                61-113 Fixtures
	2705.00ea

	
	E                                                                                                               114-154 Fixtures
	3105.00ea

	
	F                                                                                                               155-330 Fixtures
	3816.00ea

	
	
	

	WML-1
	Faucet: T&S Brass B-0831
	304.50

	
	Drain: McGuire 155AECO
	17.77

	
	P-Trap: McGuire B8872CF
	51.54

	
	Stops & Supplies: McGuire LF2165CCLK
	30.97

	
	Insulation: McGuire PW2000
	80.31

	
	Carrier: Watts TCA-411
	650.00

	
	TMV if Required: Leonard 170-LF
	165.00
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