P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Mannford PS Wrestling Building | Quote #: | 72120-02R |
| --- | --- | --- | --- |
| Location: | Mannford, OF | Bid Date: | ASAP |
| Architect: | AEG | Date: | 7/21/20 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1 | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | Insulation: McGuire PW2000WC | 124.23 |
| EWC-1 | Water Cooler: Oasis PGVF8EBFSL-STN | 2525.00 |
|  | Apron: Oasis 035174-001 | 59.83 |
|  | CHROME BUBBLER 036700-001 | 87.00 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
| S-1 | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 103.47 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |