P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Taylor HS Classroom | Quote #: | 102120-02R |
| --- | --- | --- | --- |
| Location: | Taylor, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 10/21/20 |
| Engineer: | SGE | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| URN | Carrier: Watts CA-421 | 752.00 |
| LAV | Faucet: T&S Brass B-0890-VF05 | 284.00 |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | Carrier: Watts TCA-411 | 989.50 |
| MB | Faucet: T&S Brass B-0665BSTR-CR | 225.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| HDF | Water Cooler: Oasis PG8ACSL | 1414.00 |
|  | Apron: Oasis 035174-001 | 59.83 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | Stops & Supplies: McGuire LFST12LK | 14.64 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| CO-1 | Floor Cleanout: Watts |  |
|  | 3” CO-203-R-P | 661.00 |
|  | 4” CO-204-R-P | 881.00 |
|  | For carpeted floors add –CF | 285.00 |
|  | For Vandal Proof add -6 | 96.50 |
| CO-2 | Floor Cleanout: Watts |  |
|  | 3” CO-383-CO-300-MF | 1539.00 |
|  | 4” CO-384-CO-300-MF | 1596.00 |
|  | For Vandal Proof add -6 | 96.50 |
| RD | Roof Drain: Watts |  |
|  | 2”-4” RD-300-D-K | 1158.50 |
|  | 5”-6” RD-300-D-K | 1461.00 |
|  | 8” RD-300-D-K | 1763.50 |
| OD | Roof Drain: Watts |  |
|  | 2”-4” RD-300-D-K-R | 1389.00 |
|  | 5”-6” RD-300-D-K-R | 1691.50 |
|  | 8” RD-300-D-K-R | 1787.00 |
| DN | Downspout Nozzle: Watts |  |
|  | RD-942-4” | 1083.00 |
|  | RD-945-6 | 1942.00 |
|  | RD-948 | 2654.50 |
| WHA | Water Hammer Arrestor: Watts LF15M2-DR |  |
|  | A 1-11 Fixtures | 175.00EA |
|  | B 12-32 Fixtures | 336.00EA |
| ` | C 33-60 Fixtures | 529.50EA |
|  | D 61-113 Fixtures | 1118.00ea |
|  | E 114-154 Fixtures | 1390.50ea |
|  | F 155-330 Fixtures | 1656.00ea |
| SK-1 | Sink: Just SL-2017-A-GR | 307.70 |
|  | Faucet: T&S Brass B-1142-044/135X | 263.540 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | Stops & Supplies: McGuire LF2165LK | 41.56 |
|  | 1070 Listed TMV: Leonard 170A-LF | 160.00 |
|  | Insulation: McGuire PW2000 | 103.47 |
|  | Continuous Waste: McGuire 111C16G17 | 96.96 |
| HB | Hydrant: Watts HY-420-12-88 | 1006.00 |
| TMV | 1070 Listed TMV: Leonard 270-LF IF REQUIRED | 180.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |