P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | UCA Windgate Center | Quote #: | 72720-04R |
| --- | --- | --- | --- |
| Location: | Conway, AR | Bid Date: | ASAP |
| Architect: | WER | Date: | 7/27/20 |
| Engineer: | TME | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany U1802-1.6-T42-23241-3 | 695.00 |
| WC-2 | Carrier: Watts Horizontal L/R ISCA-101 | 1443.00 |
|  | Back to Back Horizontal ISCA-101-D | 2697.00 |
|  | Vertical L/R ISCA-131 | 2105.00 |
|  | Back to Back Vertical ISCA-131D | 3479.50 |
|  | “XHD” 750LB ISCA-103-L/R | 3284.00 |
|  | Back To Back “XHD” 750LB ISCA-103-D | 6327.50 |
| UR-1 | Flush Valve: Delany U1851-1-T42-23241-1.5 | 595.00 |
| UR-2 | Carrier: Watts CA-321 | 762.500 |
| L-1 | Faucet: T&S Brass EC-3103-HW | 1050.00 |
| L-2 | Drain: McGuire 155WCECO | 40.49 |
|  | P-Trap: McGuire C8872CECO | 41.18 |
|  | 1 ¼” Set Screw Escutcheon: McGuire 127125O | 14.05 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | Carrier: Watts TCA-411 | 989.50 |
|  | Insulation: McGuire PW2000WC | 124.23 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-1 | Sink: Just USX-1618-A-GR | 336.50 |
|  | Faucet: T&S Brass B-2866-05/0199-07 | 350.00 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-2 | Sink: Just UDX-1632-A-GR | 492.50 |
|  | Faucet: T&S Brass B-2866-05/0199-07 | 350.00 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-3 | Sink: Just SB-236-24RL | 4775.20 |
|  | Faucet: T&S Brass B-1126 | 222.00 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-4 | Sink: Just SB-230-24R | 3734.30 |
|  | Faucet: T&S Brass B-2187 | 783.50 |
|  | Drain: TS BRASS B-3950 | 119.00 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-5 | Sink: Just US-ADA-1618-A-GR | 243.00 |
|  | Faucet: T&S Brass B-2741/0199-07 | 372.00 |
|  | Drain: McGuire 152 | 47.07 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-6 | Sink: Just SB-154 | 3211.60 |
|  | Faucet: T&S Brass B-0665-BSTP-00GG | 396.00 |
|  | Drain: McGuire 152 | 47.07 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-7 | Sink: Just US-ADA-1618-A-GR | 243.00 |
|  | Faucet: T&S Brass B-2866-05/0199-07/cer | 350.00 |
|  | Drain: McGuire 152 | 47.07 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-8 | Sink: Just UD-ADA-1632-A-GR | 464.50 |
|  | Faucet: T&S Brass B-2855-04/0199-07/cer | 385.00 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-9 | Sink: Just SB-130 | 2229.20 |
|  | Faucet: T&S Brass B-0504-04/0535 | 999.00 |
|  | Drain: TS BRASS B-3950 | 119.00 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-10 | Sink: Just SB-124-24RL | 2999.10 |
|  | Faucet: T&S Brass B-2187 | 783.50 |
|  | Drain: TS BRASS B-3950 | 119.00 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-11 | Sink: Just US-ADA-1618-A-GR | 243.00 |
|  | Faucet: T&S Brass B-2866-05/0199-07 | 350.00 |
|  | Drain: McGuire 152 | 47.07 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-12 | Sink: Just US-ADA-1830-A-GR | 399.30 |
|  | Faucet: T&S Brass B-2855-04/0199-07/cer | 385.00 |
|  | Drain: McGuire 152 | 47.07 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-13 | Sink: Just US-1830-A-GR | 346.00 |
|  | Faucet: T&S Brass B-2855-04/0199-07 | 385.00 |
|  | Drain: McGuire 152 | 47.07 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-14 | Sink: Just USX-1618-A-GR | 336.50 |
|  | Faucet: T&S Brass B-2866-05/0199-07/cer | 350.00 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-15 | Sink: Just SB-130 | 2229.20 |
|  | Faucet: T&S Brass B-1126 | 222.00 |
|  | Drain: TS BRASS B-3950 | 119.00 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| S-16 | Sink: Just SB-248 | 6825.00 |
|  | Faucet: T&S Brass B-1126 | 222.00 |
|  | Drain: McGuire 151A | 42.80 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| SH-2 | Shower Valve: Leonerd 4500-D2L-62001-H03 | 868.00 |
| SS-1 | Faucet: T&S Brass B-0665BSTP | 262.00 |
|  | Mop Hanger: T&S Brass B-0653 | 70.60 |
|  | Hose & Hook: T&S Brass B-0654 | 42.50 |
| HS-1 | Sink: Just A-33338 | 1379.90 |
|  | Faucet: T&S Brass B-0892-01QT | 283.00 |
|  | P-Trap: McGuire C8912CECO | 43.74 |
|  | 1 ½” Set Screw Escutcheon: McGuire 127150O | 14.25 |
|  | Stops & Supplies: McGuire LF2165CCLKF | 63.10 |
|  | TMV if Required: Leonard 170A-LF | 160.00 |
| EWC-1 | Water Cooler: Oasis MMRSLEBF | 4181.00 |
|  | P-trap: McGuire 8088C | 63.66 |
|  | Stops & Supplies: McGuire LFST17LK | 13.85 |
|  | Carrier Bi-Level: Watts CA-431-1 | 1214.50 |
|  | Carrier: Watts CA-421 | 752.00 |
| EEW-1-2-3 | ETMV: Leonard TA300-LF | 750.00 |
| EEWSH-1 | ETMV: Leonard TM800-LF | 1400.00 |
| RC-1 | REMOTE CHILLER: OASIS R8 | 1084.50 |
| FD-1 | Floor Drain: Watts FD-100-6M-P | 716.50 |
| FD-2 | Floor Drain: Watts FD-100-ER7-P | 1115.50 |
| FS-1-2 | Floor Sink: Watts FS-740-1 | 2979.00 |
| RD-1 | Roof Drain: Watts |  |
|  | 2”-4” RD-300-D-K | 1158.50 |
|  | 5”-6” RD-300-D-K | 1461.00 |
|  | 8” RD-300-D-K | 1763.50 |
| ORD-1 | Roof Drain: Watts |  |
|  | 2”-4” RD-300-D-K-R | 1389.00 |
|  | 5”-6” RD-300-D-K-R | 1691.50 |
|  | 8” RD-300-D-K-R | 1787.00 |
| HB-1 | Hydrant: Watts HY-330 | 1349.00 |
| HB-2 | Hose Bibb: T&S Brass B-0737 | 156.50 |
| DN-1 | Downspout Nozzle: Watts |  |
|  | RD-942-4” | 1083.00 |
|  | RD-945-6 | 1942.00 |
|  | RD-948 | 2654.50 |
| FPWH | Hydrant: Watts HY-725-12 | 1690.00 |
| TMV-1 | Mixing Valve: Leonard TA-300-LF | 750.00 |
| TMV-2 | Mixing Valve: Leonard TM-600-LF | 1275.00 |
| ADT-1 | Acid Trap: Orion STYLE T5 30GAL.LON | 1557.00 |
|  | Limestone 250lbs | 132.50 |
| OI-1 | WATTS OI-K-100 | 26935.00 |
| WHA | Water Hammer Arrestor: Watts SS |  |
|  | A 1-11 Fixtures | 549.50EA |
|  | B 12-32 Fixtures | 1119.00ea |
|  | C 33-60 Fixtures | 1672.00ea |
|  | D 61-113 Fixtures | 4191.00ea |
|  | E 114-154 Fixtures | 4731.50ea |
|  | F 155-330 Fixtures | 5815.00ea |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |