P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Wendy’s Farmington | Quote #: | 11521-01R |
| --- | --- | --- | --- |
| Location: | Farmington, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 1/15/2021 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/2021

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 6 MONTHS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| LAV-1-2 | Faucet: T&S Brass NO EQUAL |  |
|  | 1070 Listed TMV: Leonard 170A-LF IF REQUIRED | 160.00 |
|  | Drain: McGuire 155WCECO | 42.51 |
|  | P-Trap: McGuire C8872CECO | 43.24 |
|  | Stops & Supplies: McGuire LF2165LKECO | 38.44 |
|  | Insulation: McGuire PW2000WC | 130.44 |
|  | Carrier: Watts TCA-411 | 989.50 |
| FD-1 | Floor Drain: Watts FD-100-5A-P | 481.00 |
| FS-1 | Floor Sink: Watts FS-740-1 | 2979.00 |
| TMV-1 | Mixing Valve: Leonard 270-LF | 180.00 |
| RCP-1 | Circulating Pump: Armstrong COMPASS SS price includes freight | 683.00 |
|  | Timer if Required (810223-130) | 134.00 |
|  | Aquastat if Required (110123-121) | 50.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 87.00 |
|  | 1” (816012-841) | 87.00 |
|  | 1.25(816011-841) | 99.00 |
|  | 1.5 (816009-841) | 111.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |