P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | BPS 2019 Bond Issue Performing Arts | Quote #: | 92821-04R |
| --- | --- | --- | --- |
| Location: | Blanchard, OK | Bid Date: | ASAP |
| Architect: | PRA | Date: | 9/28/2021 |
| Engineer: | Salaso Brien | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1 | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Drain: McGuire HD155WC | 89.25 |
|  | P-Trap: McGuire C8902C | 65.81 |
|  | Stops & Supplies: McGuire LFBV2165CC-SS16 | 70.15 |
|  | Insulation: McGuire PW2000WC | 147.94 |
| L-2 | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Drain: McGuire HD155A | 55.27 |
|  | P-Trap: McGuire C8902C | 65.81 |
|  | Stops & Supplies: McGuire LFBV2165CC-SS16 | 70.15 |
|  | Insulation: McGuire PW2000 | 123.22 |
| WC-3 | Stops & Supplies: McGuire LFBV2-166 | 26.50 |
| S-2 | Drain: McGuire 151A | 50.96 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LFBV2165CC-SS16 | 70.15 |
|  | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| SH-1 | Shower Valve: Leonard 4505 | 765.00 |
| EWC-1 | Water Cooler: Oasis PGF8EBFSL | 2533.50 |
|  | Apron: Oasis 035174-003 | 79.00 |
|  | CHROME BUBBLER 036700-001 | 155.43 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LFST12LK | 17.43 |
| TMV-1 | 1070 Listed TMV: Leonard 270-LF | 183.00 |
| WH-1-2 | RINNAI TANKLESS RACK |  |
|  | TRW02STiN | 6695.00 |
|  | CASCADE HARNESS REU-CSA-C1 (X3) | 48.00EA |
|  | COMMERCIAL NEATRALIZATION TANK | 542.00 |
|  | EST FREIGHT | 325.00 |
| WH-3 | Tankless Water Heater: Rinnai RUR199iN Isolation Valve Included | 2905.00 |
|  | Does not include any venting, venting layout unknown |  |
|  | Controller REU-MSB-M if needed | 204.00 |
|  | Slave REU-MSB-C1 if needed | 63.00 |
|  | EZ Connect Cable if needed REU-EZC-2 | 62.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |