P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Parachute Plasma | Quote #: | 92321-01R |
| --- | --- | --- | --- |
| Location: | Searcy, AR | Bid Date: | ASAP |
| Architect: | Link | Date: | 9/23/2021 |
| Engineer: | EEA | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany U1802-1.6-T42-23241-3 | 695.00 |
| UR-1 | Flush Valve: Delany U1851-1-T42-23241-1.5 | 695.00 |
| LAV-1-2 | Faucet: T&S Brass EC-3142-ST-VF05 AS ALTERNATE | 880.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Drain: McGuire 155WCECO | 45.07 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LF2165LKECO | 40.75 |
|  | Insulation: McGuire PW2000WC | 147.94 |
| SK-1 | Sink: Just SL-ADA-2017-A | 770.60 |
|  | Faucet: T&S Brass B-1142-04 | 256.00 |
|  | Drain: McGuire 151A | 50.96 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LF2165LKECO | 40.75 |
|  | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| SK-2 | Sink: Just DL-ADA-17537-A AS ALTERNATE | 1310.40 |
|  | Faucet: T&S Brass B-1142-04 | 256.00 |
|  | Drain: McGuire 151A | 50.96 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LF2165LKECO | 40.75 |
|  | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| MS-1 | Faucet: T&S Brass B-0665BSTP | 288.50 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| EWC-1 | Water Cooler: Oasis PG8EBFSL | 2327.00 |
|  | Apron: Oasis 035174-001 | 62.00 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LFST12LK | 17.43 |
| TMV | Mixing Valve: Leonard TM-50-AT-LF | 1220.00 |
| MV | Mixing Valve: Leonard 270-LF | 183.00 |
| RP-1 | Circulating Pump: Armstrong ASTRO280SS price includes freight | 749.00 |
|  | Timer if Required (810223-130) | 145.00 |
|  | Aquastat if Required (110123-121) | 55.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 96.00 |
|  | 1” (816012-841) | 96.00 |
|  | 1.25(816011-841) | 109.00 |
|  | 1.5 (816009-841) | 123.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |