P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Beach BBQ Restaurant | Quote #: | 11821-01R |
| --- | --- | --- | --- |
| Location: | Bentonville, AR | Bid Date: | ASAP |
| Architect: | Nielson | Date: | 11/8/2021 |
| Engineer: | HP | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| CP-1 | Circulating Pump: Armstrong ASTRO280SS price includes freight | 801.00 |
|  | Timer if Required (810223-130) | 145.00 |
|  | Aquastat if Required (110123-121) | 55.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 96.00 |
|  | 1” (816012-841) | 96.00 |
|  | 1.25(816011-841) | 109.00 |
|  | 1.5 (816009-841) | 123.00 |
| GI-1 | Grease Interceptor: Mifab BIG-1150-0 | 6494.00 |
|  | EXT IF REQUIRED UP TO 44” ADD -BIG-EXT-44 | 1156.00 |
|  | EXT IF REQUIRED UP TO 72” ADD -BIG-EXT-72 | 2312.00 |
| GWH-1 | Water Heater: Rinnai COMMERCIAL CHS199100HiN AS ALTERNATE | 9100.00 |
|  | DEMAND DUO TANK TANKLESS |  |
| HL-1 | Faucet: T&S Brass EC-3103-HW | 1150.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Drain: McGuire 155WCECO | 45.07 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LF170LK | 66.48 |
|  | Insulation: McGuire PW2000WC | 147.94 |
| HWC-1 | Stops & Supplies: McGuire LF172LK | 36.70 |
| JS-1 | Mop Sink: Stern Williams MTB-2424 | 306.00 |
|  | Speedi Drain Connector: Stern Williams TC-3 | 19.50 |
|  | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| S-1 | Sink: Just |  |
|  | Faucet: T&S Brass B-2742/2387 | 463.50 |
|  | Drain: McGuire 151M | 66.77 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LF170LK | 66.48 |
|  | 1070 Listed TMV: Leonard 170A-LF | 163.00 |
|  | Continuous Waste: McGuire 111C16G17 | 115.44 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |