P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | CARTI Surgery Center | Quote #: | 1521-01R |
| --- | --- | --- | --- |
| Location: | Little Rock, AR | Bid Date: | ASAP |
| Architect: | Cromwell | Date: | 1/5/2022 |
| Engineer: | C | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| CS-1 | Flush Valve: Delany F461-1.6 | 538.80 |
|  | Faucet: T&S Brass B-0664-03 | 874.50 |
| LV-1&3 | Faucet: T&S Brass EC-3102-VF05 NO MEDEL SPECIFIED SUBJECT TO ENGINEERS APPROVAL | 773.00 |
|  | 1070 Listed TMV: Leonard 170-LF-BP | 195.00 |
|  | Drain: McGuire PW155WC | 86.57 |
|  | P-Trap: McGuire PW8090 | 189.11 |
|  | Stops & Supplies: McGuire LFBV2-02 (x2) | 16.71ea |
|  | Supply Lines: McGuire SS20 | 7.27ea |
| LV-2 | Faucet: T&S Brass NO EQUAL |  |
|  | 1070 Listed TMV: Leonard 170-LF-BP | 195.00 |
|  | Drain: McGuire PW155WC | 86.57 |
|  | P-Trap: McGuire PW8090 | 189.11 |
|  | Stops & Supplies: McGuire LFBV2-02 (x2) | 16.71ea |
|  | Supply Lines: McGuire SS20 | 7.27ea |
| SK-1 | Faucet: T&S Brass B-2866-05QT-V22 | 395.00 |
|  | Drain: McGuire 1149WC | 112.77 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LFBV2-02X2 | 16.71EA |
|  | Supply Lines: McGuire SS20 | 7.27EA |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 195.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| SK-2 | Sink: Just MFG US-ADA-1620-A | 674.41 |
|  | Faucet: T&S Brass B-2731-LH | 264.50 |
|  | Drain: McGuire 1151AWC | 117.81 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 17.24EA |
|  | Supply Lines: McGuire SS20 | 7.27EA |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 195.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| SK-3 | Faucet: T&S Brass B-2866-05-VF05 | 395.00 |
|  | Drain: McGuire PW155WC | 86.57 |
|  | P-Trap: McGuire PW8090 | 189.11 |
|  | Stops & Supplies: McGuire LFBV2-02 X2 | 16.71EA |
|  | Supply Lines: McGuire SS20 | 7.27EA |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 195.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| SK-4 | Faucet: T&S Brass B-2731-LH | 264.50 |
|  | Drain: McGuire 1151AWC | 117.81 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 17.24EA |
|  | Supply Lines: McGuire SS20 | 7.27EA |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 195.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| SK-98 | Sink: Just JKS-770-1-DT | 14598.84 |
|  | Sink Includes Knee Operated Water Valves and soap pumps, Spouts,JTM TMV, Grid |  |
|  | Drain, and P-trap All Pre Piped |  |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 17.24EA |
|  | Supply Lines: McGuire SS20 | 7.27EA |
| SK-99 | Sink: Just JKS -770-2-DT | 19859368 |
|  | Sink Includes Knee Operated Water Valves and soap pumps, Spouts,JTM TMV, Grid |  |
|  | Drain, and P-trap All Pre Piped |  |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 17.24EA |
|  | Supply Lines: McGuire SS20 | 7.27EA |
| SH-1 | Shower Valve: Leonard 4500-62003-1.5 | 750.00 |
| MS-1 | Mop Sink: Stern Williams MTB-2424 | 306.00 |
|  | Stainless Steel Caps: Stern Williams S-20-24 | 71.40EA |
|  | Speedi Drain Connector: Stern Williams TC-3 | 19.50 |
|  | BP Splash Panels: Stern Williams BP-2-24 | 226.80 |
|  | Faucet: T&S Brass B-0658 | 521.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| EW-1 | ETMV: Leonard TA-300-LF | 820.00 |
| ES-1 | ETMV: Leonard TM-800-LF | 1550.00 |
| GWH-1 | Water Heater: Rinnai COMMERCIAL CHS199-100CUiN | 9100.00 |
|  | DEMAND DUO TANK TANKLESS |  |
| MVS-1 | Leonard Valve MEGATRON-NV-150-LF | 30390.00 |
| TMV-1 | Mixing Valve: Leonard LV-20-E-LF-BDT-IT | 1650.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |