P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Walmart Food Hall | Quote #: | 12321-01R |
| --- | --- | --- | --- |
| Location: | Bentonville, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 12/3/21 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 6/1/21

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| LV-1 | Faucet: T&S Brass EC-3142-4DP | 987.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Drain: McGuire 155WCECO | 45.07 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 17.43EA |
|  | Stainless Stell Braided Riser SSLAV16 | 10.20PR |
|  | Insulation: McGuire PW2000WC | 147.94 |
| TMV-D-001 | Mixing Valve: Leonard MEGATRON-XL-82-LF-PL | 12930.00 |
| TMV-D-002 | Mixing Valve: Leonard MEGATRON-XL-200-SW-LF-PL | 17965.00 |
| HWC-D001 | Circulating Pump: Armstrong E9.2B price includes freight | 1182.00 |
|  | Timer if Required (810223-130) | 155.00 |
|  | Aquastat if Required (110123-121) | 63.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 99.00 |
|  | 1” (816012-841) | 99.00 |
|  | 1.25(816011-841) | 109.00 |
|  | 1.5 (816009-841) | 123.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |