P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Tulsa Pipe Trade School | Quote #: | 3122-03R |
| --- | --- | --- | --- |
| Location: | Tulsa, OK | Bid Date: | ASAP |
| Architect: | Boswell | Date: | 3/1/2022 |
| Engineer: | L&B | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1 | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Drain: McGuire 155WCECO | 45.07 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 17.43EA |
|  | Stainless Steel Braided Riser SSLAV16 | 10.20PR |
|  | Insulation: McGuire PW2000WC | 147.94 |
| S-1 | Drain: McGuire 151A | 50.96 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 17.43EA |
|  | Stainless Steel Braided Riser SSLAV16 | 10.20PR |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 123.22 |
|  | Continuous Waste: McGuire 111C16G17 | 115.47 |
| HWT-1 | Tankless Water Heater: Rinnai RU199In Isolation Valve Included | 2473.00 |
|  | Does not include any venting, venting layout unknown |  |
|  | Controller REU-MSB-M if needed | 235.00 |
|  | Slave REU-MSB-C1 if needed | 72.00 |
|  | EZ Connect Cable if needed REU-EZC-2 | 71.00 |
| EWC-1 | Water Cooler: Oasis PGF8EBFSL-STN | 2962.00 |
|  | Apron: Oasis 035174-003 | 88.50 |
|  | P-Trap: McGuire C8872CECO | 45.83 |
|  | Stops & Supplies: McGuire LFST12LK | 17.43 |
| WF-1 | Willoughby WWF-3603-FLR-FO | 4375.89 |
|  | P-Trap: McGuire C8912CECO | 48.68 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 17.43EA |
|  | Stainless Steel Braided Riser SSLAV16 | 10.20PR |
| EW | Emergency Eyewash: Encon CC02210 | 574.00 |
|  | ETMV: Leonard TA-300-LF | 820.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |