P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | NWOSU South Hall | Quote #: | 4422-02R |
| --- | --- | --- | --- |
| Location: | Alva, Ok | Bid Date: | ASAP |
| Architect: | Easley and Associates | Date: | 4/4/2022 |
| Engineer: | TFK | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 1/1/23

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| L-1 | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Drain: McGuire 155WCECO | 48.22 |
|  | P-Trap: McGuire C8872CECO | 49.04 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 18.65ea |
|  | Stainless Steel Braided Riser SSLAV16 | 10.91pr |
|  | Insulation: McGuire PW2000WC | 158.30 |
| S-1 | Drain: McGuire 151A | 54.54 |
|  | P-Trap: McGuire C8912CECO | 52.00 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 18.65ea |
|  | Stainless Steel Braided Riser SSLAV16 | 10.91pr |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 131.85 |
|  | Continuous Waste: McGuire 111C16G17 | 123.55 |
| EWC-1 | Water Cooler: Oasis PGF8EBFSL | 2777.50 |
|  | Apron: Oasis 035174-001 | 69.00 |
|  | CHROME BUBBLER 036700-001 | 155.43 |
|  | P-Trap: McGuire C8872CECO | 49.04 |
|  | Stops & Supplies: McGuire LFST12LK | 18.65 |
| EWC-2 | Water Cooler: Oasis PGF8EBF | 2024.50 |
|  | Apron: Oasis 035174-001 | 69.00 |
|  | CHROME BUBBLER 036700-001 | 155.43 |
|  | P-Trap: McGuire C8872CECO | 49.04 |
|  | Stops & Supplies: McGuire LFST12LK | 18.65 |
| SH-1 | Shower Valve: Leonard 4501 | 320.00 |
| SH-2 | Shower Valve: Leonard 4505 AS ALTERNATE NO QUICK DISCONNECT | 775.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |