P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Church’s Chicken | Quote #: | 51222-03R |
| --- | --- | --- | --- |
| Location: | Tulsa, OK | Bid Date: | ASAP |
| Architect: |  | Date: | 5/12/2022 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 5/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WH-1 | Tankless Rack System: Rinnai |  |
|  | TRX02CUiN | 6550.00 |
|  | EZ Connect Cable REU-EZC-2 | 81.20 |
|  | Commercial Neutralization Tank | 575.00 |
|  | EST Freight | 515.00 |
| HL-1 | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Drain: McGuire 155WCECO | 52.08 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LF170LK | 76.85 |
|  | Insulation: McGuire PW2000WC | 170.96 |
| TMV-1 | 1070 Listed TMV: Leonard 270-LF | 197.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |