P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | NWA Food Systems | Quote #: | 51322-07R |
| --- | --- | --- | --- |
| Location: | Springdale, AR | Bid Date: | ASAP |
| Architect: | Patternh | Date: | 5/13/22 |
| Engineer: | HSA | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 5/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| P-1-2 | Flush Valve: Delany 402-1.6-T42-SMO | 475.00 |
| P-3 | Flush Valve: Delany 451-1-T42-SMO | 375.00 |
| P-4 | Faucet: T&S Brass B-2711-LH | 256.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Drain: McGuire 155AECO | 29.96 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | Insulation: McGuire PW2000 | 142.40 |
| P-7 | Water Cooler: Oasis PG8EBFSL | 2893.00 |
|  | Apron: Oasis 035174-001 | 69.00 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFST12LK | 22.17 |
| P-8 | Mop Sink: Stern Williams SB-850 | 726.00 |
|  | BP Splash Panels: Stern Williams BP-2-24 | 226.80 |
|  | Speedi Drain Connector: Stern Williams TC-3 | 19.50 |
|  | Faucet: T&S Brass B-0665BSTP | 274.50 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| P-14 | Tankless Water Heater: Rinnai RU199In Isolation Valve Included | 2473.00 |
|  | Does not include any venting, venting layout unknown |  |
|  | Controller REU-MSB-M if needed | 235.00 |
|  | Slave REU-MSB-C1 if needed | 72.00 |
|  | EZ Connect Cable if needed REU-EZC-2 | 71.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |