P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Central JH | Quote #: | 6122-01R |
| --- | --- | --- | --- |
| Location: | Hot Springs, AR | Bid Date: | ASAP |
| Architect: |  | Date: | 6/1/2022 |
| Engineer: |  | Page 1 of 1 |

CURRENT MCGUIRE PRICING VALID

UNTIL 5/1/22

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany S402-1.6-T42 | 221.00 |
| HS-1-2 | Sink: Just SL-ADA-2225-A | 979.66 |
|  | Faucet: T&S Brass B-2741/2387 | 507.50 |
|  | Drain: McGuire 151A | 58.90 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
|  | CLAY TRAP BY OTHERS |  |
| S-1 | Sink: Just SL-2017-A | 806.85 |
|  | Faucet: T&S Brass B-2741/2387 | 507.50 |
|  | Drain: McGuire 151A | 58.90 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| S-2&5 | Sink: Just SL-2225-A | 932.47 |
|  | Faucet: T&S Brass B-2741/2387 | 507.50 |
|  | Drain: McGuire 151A | 58.90 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| S-3 | Sink: Just DL-2233-A | 979.66 |
|  | Faucet: T&S Brass B-2741/2387 | 507.50 |
|  | Drain: McGuire 151A | 58.90 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| S-4 | Sink: SCIENTIFIC PLASTICS W31454-000 | 1975.96 |
|  | Faucet: T&S Brass BL-5704-08/BL-4200-0 | 670.00 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| SS-1-2 | Faucet: T&S Brass B-0133-ADF08-B | 831.50EA |
| UT-1 | Faucet: T&S Brass B-1110 | 193.00 |
| HL-1-2-L-1-2 | Faucet: T&S Brass B-2711-VF05 | 273.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 175.00 |
|  | Drain: McGuire 155WCECO | 52.08 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFST12LK (X2) LESS SUPPLY LINES | 22.17ea |
|  | Stainless Steel Braided Riser SSLAV16 | 11.79pr |
|  | Insulation: McGuire PW2000WC | 170.96 |
| JS-1 | Faucet: T&S Brass B-0665BSTR-CR | 225.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| ES-1 | ETMV: Leonard TM-800-LF | 1850.00 |
| GI-1 | MIFAB BIG-1150 | 7194.00 |
|  | EXT IF REQUIRED UP TO 94” | 447000 |
|  | Anchor Kit | 810.00 |
|  | Sampling Port High Connection | 2018.00 |
|  | Sampling Port Low Connection | 2018.00 |
| NT-1 | Acid Dilution Tank: Scientific Plastics W32535-000 | 4662.28 |
|  | Limestone 1700LBS (34, 50lbs bags) | 1120.00 |
| EWC-1 | Water Cooler: Oasis PGVF8EBFSL | 3880.00 |
|  | Apron: Oasis 035174-003 | 91.50 |
|  | CHROME BUBBLER 036700-001 | 155.43 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFST12LK | 22.17 |
| HEWC-1 | Water Cooler: Oasis PGVF8EBF | 2689.00 |
|  | Apron: Oasis 035174-003 | 91.50 |
|  | CHROME BUBBLER 036700-001 | 155.43 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFST12LK | 22.17 |
| IWH-1,IWH-4 | Tankless Water Heater: Rinnai RU199In Isolation Valve Included | 2473.00 |
|  | Does not include any venting, venting layout unknown |  |
|  | Controller REU-MSB-M if needed | 235.00 |
|  | Slave REU-MSB-C1 if needed | 72.00 |
|  | EZ Connect Cable if needed REU-EZC-2 | 71.00 |
| CP-1 | Circulating Pump: Armstrong ASTRO225SSU price includes freight | 685.00 |
|  | Timer if Required (810223-130) | 145.00 |
|  | Aquastat if Required (110123-121) | 55.00 |
|  | Companion UNIONS |  |
|  | 1.25NPSMx.50 | 119.00 |
|  | 1.25NPSMx.75 | 119.00 |
| CP-2 | Circulating Pump: Armstrong ASTRO280SS price includes freight | 1018.00 |
|  | Timer if Required (810223-130) | 145.00 |
|  | Aquastat if Required (110123-121) | 55.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 96.00 |
|  | 1” (816012-841) | 96.00 |
|  | 1.25(816011-841) | 109.00 |
|  | 1.5 (816009-841) | 123.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |