P.S.A., Inc.

www.psaincorporated.com

PRICE CHANGE NOTICE

7/25/2022:  Stern- Williams 8/1/2022 all products. Previous quotes good until 7/31/2022.

P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Highland’s 5TH Floor TI | Quote #: | 81622-01R |
| --- | --- | --- | --- |
| Location: | Springdale, AR | Bid Date: | ASAP |
| Architect: | Crafton Tull | Date: | 8/16/2022 |
| Engineer: | HP | Page 1 of 1 |

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| CP-1 | Circulating Pump: Armstrong ASTRO286SS price includes freight | 925.00 |
|  | Timer if Required (810223-130) | 182.00 |
|  | Aquastat if Required (110123-121) | 72.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 114.00 |
|  | 1” (816012-841) | 114.00 |
|  | 1.25(816011-841) | 130.00 |
|  | 1.5 (816009-841) | 148.00 |
| TMV-1 | 1070 Listed TMV: Leonard 270-LF | 203.00 |
| EWS-1 | ETMV: Leonard TA-300-LF | 845.00 |
| HL-1 | Faucet: T&S Brass EC-3102-VF05 | 812.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 180.00 |
|  | Drain: McGuire 155WCECO | 52.08 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LF170LK | 76.85 |
|  | Insulation: McGuire PW2000WC | 170.96 |
| S-1 | Faucet: T&S Brass EC-3100-4DP | 463.50 |
|  | Drain: McGuire 151M | 77.18 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LF170LK | 76.85 |
|  | 1070 Listed TMV: Leonard 170A-LF | 180.00 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |