P.S.A., Inc.

www.psaincorporated.com

PRICE CHANGE NOTICE

7/25/2022:  Stern- Williams 8/1/2022 all products. Previous quotes good until 7/31/2022.

P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | NCTR Building 21 Campus Chiller Plant | Quote #: | 82222-01R |
| --- | --- | --- | --- |
| Location: | Jefferson, AR | Bid Date: | ASAP |
| Architect: | Cromwell | Date: | 8/22/22 |
| Engineer: | Cromwell | Page 1 of 1 |

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany S402-1.6-T42 | 241.00 |
| LV-1 | Faucet: T&S Brass EC-3103-HW TMV LISTED BELOW | 1150.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 180.00 |
|  | Drain: McGuire 155WCECO | 52.08 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LF2165CCLK | 54.92 |
|  | Insulation: McGuire PW2000WC | 170.96 |
| SK-1 | Faucet: T&S Brass NO EQUAL |  |
|  | Drain: McGuire 151A | 58.90 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LF2165CCLK | 54.92 |
|  | 1070 Listed TMV: Leonard TA-300-LF | 845.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| MS-1 | Faucet: T&S Brass B-0665BSTR-CR | 225.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| EWC-1 | Water Cooler: Oasis PGVF8EBFSL | 3880.00 |
|  | Apron: Oasis 035174-003 | 91.50 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFST175LK | 49.57 |
| EEWS-1 | Mixing Valve: Leonard TM-800-LF | 1595.00ea |
| WHCP-1-2 | Circulating Pump: Armstrong ASTRO220SSU price includes freight | 585.00EA |
|  | Timer if Required (810223-130) | 182.00 |
|  | Aquastat if Required (110123-121) | 72.00 |
|  | Companion UNIONS |  |
|  | 1.25NPSM X .50 | 107.00 |
|  | 1.25 NPSM X .75 | 107.00 |
| TMV-1 | Mixing Valve: Leonard TM-26-LF-BDT | 1525.00 |
| WTV-1 | Mixing Valve: Leonard TM-800-LF | 1595.00ea |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |