P.S.A., Inc.

www.psaincorporated.com

PRICE CHANGE NOTICE

7/25/2022:  Stern- Williams 8/1/2022 all products. Previous quotes good until 7/31/2022.

8/1/2022:    Armstrong Pumps price increase.

P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | 1st Presbyterian Church of Batesville | Quote #: | 101822-03R |
| --- | --- | --- | --- |
| Location: | Batesville, AR | Bid Date: | ASAP |
| Architect: | AE | Date: | 10/18/2022 |
| Engineer: | AE | Page 1 of 1 |

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC | Stops & Supplies: McGuire LF172 | 56.48 |
| L-1 | Faucet: T&S Brass B-2711-VF05 | 287.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 180.00 |
|  | Drain: McGuire 155WCECO | 52.08 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LF2165-SS16 | 22.17ea |
|  | Insulation: McGuire PW2000WC | 170.96 |
|  | Carrier: Josam 17100 | 1284.00 |
| GI-1 | MIFAB LIL-35 | 1298.00 |
|  | EXT IF REQUIRED | 449.00 |
| SI-1 | MIFAB BIG-55-S | 3735.00 |
|  | EXT IF REQUIRED UP TO 94” | 1806.00 |
| FD-1 | Floor Drain: Josam 30000-5A-Y | 621.00 |
| FS-1 | Floor Sink: Josam 49340-Y-NB-4 | 4369.00 |
| CP-1 | Circulating Pump: Armstrong ASTRO230SS price includes freight | 649.00 |
|  | Timer if Required (810223-130) | 182.00 |
|  | Aquastat if Required (110123-121) | 72.00 |
|  | Companion Flanges |  |
|  | ¾ (816013-841) | 114.00 |
|  | 1” (816012-841) | 114.00 |
|  | 1.25(816011-841) | 130.00 |
|  | 1.5 (816009-841) | 148.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |