P.S.A., Inc.

www.psaincorporated.com

PRICE CHANGE NOTICE

7/25/2022:  Stern- Williams 8/1/2022 all products. Previous quotes good until 7/31/2022.

8/1/2022:    Armstrong Pumps price increase.

P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Pinnacle Surgery Center | Quote #: | 101022-06R |
| --- | --- | --- | --- |
| Location: | Rogers, AR | Bid Date: | ASAP |
| Architect: | Cromwell | Date: | 10/10/2022 |
| Engineer: | Cromwell | Page 1 of 1 |

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany S402-1.6-T42 | 260.00 |
|  | Must be provided with slip-joint adjustable tailpiece, self-cleaning masherator by pass, and be externally adjustable, No Visible External Hex Nut and removable Seat |  |
| UR-1 | Flush Valve: Delany 451-1-T42 | 260.00 |
|  | Must be provided with slip-joint adjustable tailpiece, self-cleaning masherator by pass, and be externally adjustable No Visible External Hex Nut and removable seat |  |
|  | Carrier: Josam 17560-UR | 1084.00 |
| LV-1-2 | Faucet: T&S Brass B-2711-VF05 AS ALTERNATE TMV BELOW DECK | 255.00 |
|  | 1070 Listed TMV: Leonard 170A-LF | 180.00 |
|  | Drain: McGuire PW155WC | 100.04 |
|  | P-Trap: McGuire PW8090 | 218.53 |
|  | Stops & Supplies: McGuire LFBV2-02 (x2) | 19.31ea |
|  | Supply Lines: McGuire SS20 | 13.25 |
|  | Carrier: Josam 17100 | 1284.00 |
| LV-3 | Faucet: T&S Brass NO EQUAL |  |
|  | 1070 Listed TMV: Leonard TA-300-LF | 845.00 |
|  | Drain: McGuire PW155WC | 100.04 |
|  | P-Trap: McGuire PW8090 | 218.53 |
|  | Stops & Supplies: McGuire LFBV2-02 (x2) | 19.31ea |
|  | Supply Lines: McGuire SS20 | 13.25 |
|  | Carrier: Josam 17100 | 1284.00 |
| SK-1 | Faucet: T&S Brass B-2866-05 | 395.50 |
|  | Drain: McGuire 1151AWC | 136.13 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 19.93ea |
|  | Supply Lines: McGuire SS20 | 13.25 |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 230.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| SK-2 | Faucet: T&S Brass B-2731 | 264.50 |
|  | Drain: McGuire 1151AWC | 136.13 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 19.93ea |
|  | Supply Lines: McGuire SS20 | 13.25 |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 230.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| SH-1 | Shower Valve: Leonard 4500-62003-1.5 | 805.00 |
| CS-1 | Flush Valve: Delany F461-1.6 | 838.00 |
|  | Faucet: T&S Brass B-0664-03 | 1032.50 |
|  | Bed Pan Washer: T&S Brass B-0675 | 1378.50 |
| MS-1 | Mop Sink: Stern Williams MTB-2424 | 476.00 |
|  | BP Splash Panels: Stern Williams BP-2-24 | 302.00 |
|  | Speedi Drain Connector: Stern Williams TC-3 | 21.95 |
|  | Faucet: T&S Brass B-0665BSTR-CR | 225.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| FD-1 | Floor Drain: Josam 30000-6S-Y-VP | 997.00 |
| FS-1 | Floor Sink: Josam 49300-Y-NB-3 | 2842.00 |
| GWH-1 | RINNAI TANKLESS RACK |  |
|  | TRW02 (X2) | 6550.00ea |
|  | FOR COMMON VENT QUOTE I DON’T HAVE A LAYOUT |  |
|  | CASCADE HARNESS REU-CSA-C1 if all are connected you will need 3 | 55.00ea |
|  | COMMERCIAL NEATRALIZATION TANK | 575.00 |
|  | EST FREIGHT | 520.00 |
| TMV-1 | LEONARD MEGATRON-2NB-LF-RP125-FM | 16095.00 |
| WCO | Wall Cleanout: Josam |  |
|  | 3” 58604-CO3 | 374.00 |
|  | 4” 58604-CO4 | 459.00 |
| FCO | Floor Cleanout: Josam |  |
|  | 3” 55003-Z-1-22 | 1109.00 |
|  | 4” 55004-Z-1-22 | 1399.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |