P.S.A., Inc.

www.psaincorporated.com

PRICE CHANGE NOTICE

7/25/2022:  Stern- Williams 8/1/2022 all products. Previous quotes good until 7/31/2022.

8/1/2022:    Armstrong Pumps price increase.

P.S.A., Inc.

www.psaincorporated.com

#1 Innwood Circle, Suite 111

Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701

# Quotation

Confidential Document

| Project: | Sig Sauer | Quote #: | 41023-02R |
| --- | --- | --- | --- |
| Location: | Jacksonville, AR | Bid Date: | ASAP |
| Architect: | Cromwell | Date: | 4/10/2023 |
| Engineer: | Cromwell | Page 1 of 1 |

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE

ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS

QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)

ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

|  | ITEMS | LIST |
| --- | --- | --- |
| WC-1 | Flush Valve: Delany S402-1.6-T42 | 242.00 |
|  | Carrier: JOSAM Horizontal L/R 12674/12684 | 2065.00 |
|  | Back to Back Horizontal 12694 | 3855.00 |
|  | Vertical L/R 12704/12714 | 2338.00 |
|  | Back to Back Vertical 12724 | 4132.00 |
|  | Single Add For “SD” 750LBS | 693.00 |
|  | Back To Back Add For “SD” 750LBS | 1386.00 |
|  | Single Add For “XSD” 1000LBS | 947.00 |
|  | Back To Back Add For “XSD” 1000LBS | 1894.00 |
| UR-1 | Flush Valve: Delany S451-1-T42 | 242.00 |
|  | Carrier: Josam 17560-UR | 1084.00 |
| LV-1-2 | Faucet: T&S Brass EC-3103-HW | 1050.00 |
|  | 1070 Listed TMV: Leonard 170-LF-BP | 230.00 |
|  | Drain: McGuire PW155WC | 100.04 |
|  | P-Trap: McGuire PW8090 | 218.53 |
|  | Stops & Supplies: McGuire LFBV2-02 (x2) | 19.31ea |
|  | Supply Lines: McGuire SS20 | 13.25 |
|  | Carrier: Josam 17100 | 1284.00 |
| SK-1 | Faucet: T&S Brass B-2731-LH | 264.50 |
|  | Drain: McGuire 1151AWC | 136.13 |
|  | P-Trap: McGuire C8912CECO | 56.25 |
|  | Stops & Supplies: McGuire LFBV2-04 X2 | 19.93ea |
|  | Supply Lines: McGuire SS20 | 13.25 |
|  | 1070 Listed TMV: Leonard 170A-LF-BP | 230.00 |
|  | Insulation: McGuire PW2000 | 142.40 |
|  | Continuous Waste: McGuire 111C16G17 | 133.43 |
| EWC-1 | Water Cooler: Oasis PGF8EBFSL | 3106.50 |
|  | Apron: Oasis 035174-001 | 71.30 |
|  | P-Trap: McGuire C8872CECO | 52.96 |
|  | Stops & Supplies: McGuire LFBV2-02 | 19.31ea |
|  | Carrier Single Level: Josam 17560-WC | 1084.00 |
|  | Carrier Bi Level: Josam 17560-WCBL | 1703.00 |
| JS-1 | Mop Sink: Stern Williams MTB-2424 | 476.00 |
|  | BP Splash Panels: Stern Williams BP-2-24 | 302.00 |
|  | Speedi Drain Connector: Stern Williams TC-3 | 21.95 |
|  | Faucet: T&S Brass B-0665BSTR-CR | 225.00 |
|  | Mop Hanger: T&S Brass B-0653 | 74.00 |
|  | Hose & Hook: T&S Brass B-0654 | 44.60 |
| FD-1 | Floor Drain: Josam 34710-AE | 2952.00 |
| FS-1 | Floor Sink: Josam 49340-Y-NB-4-LF | 3868.00 |
| FS-2 | Floor Sink: Josam 49300-Y-NB-3 | 2842.00 |
| MVS-1 | Megatron: Leonard MEGATRON-1NB-LF | 14080.00 |
| WH-1-2-3 | RINNAI TANKLESS RACK |  |
|  | TRW03 | 10350.00 |
|  | CASCADE HARNESS REU-CSA-C1 (X2) | 61.00EA |
|  | COMMERCIAL NEATRALIZATION TANK | 633.00 |
|  | EST FREIGHT | 420.00 |
|  | ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25 |  |
|  | ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL |  |