P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

1- Leonard Valve Company 2/1/2025

2- McGuire MFG 1/1/2025

3- Josam 1/1/2025

4- T&S Brass & Bronze Works 1/1/2025

Keep in mind, we have Fernco and Stern- Williams in stock in Little Rock.

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Mercy Centerton
	Quote #:
	6225-07R

	Location:
	Centerton, AR
	Bid Date:
	6/10/2025

	Architect:
	BUF Studio
	Date:
	6/2/2025

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	L-1
	Faucet: T&S Brass EC-3103-HG
	1096.00

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1557.00

	
	
	

	S-1-3 
	Faucet: T&S Brass b-2850-WH4
	427.50

	
	Drain: McGuire 152
	73.45

	
	P-Trap: McGuire C8912CECO
	63.78

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Insulation: McGuire PW2000
	161.48

	
	Continuous Waste: McGuire 111C16G17
	151.30

	
	
	

	EFW-1
	Mixing Valve: Leonard TA-300-LF
	1020.00

	
	
	

	MSB-1
	Mop Sink: Stern Williams SB-800
	754.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	361.50

	
	Mop Hanger: T&S Brass B-0653
	91.80

	
	Hose & Hook: T&S Brass B-0654
	55.60

	
	
	

	EWC-1
	Water Cooler: Oasis MCR
	4802.00

	
	REMOTE CHILLER R8
	1514.00

	 
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LFST12LK
	25.13

	
	Carrier Single Level: Josam 17560-WC
	1315.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2065.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5S-Y
	1127.00

	
	
	

	TMV-1
	Mixing Valve: Leonard LV-981-LF-BDT-TH
	1856.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
