P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

1- Leonard Valve Company 2/1/2025

2- McGuire MFG 1/1/2025

3- Josam 1/1/2025

4- T&S Brass & Bronze Works 1/1/2025

Keep in mind, we have Fernco and Stern- Williams in stock in Little Rock.

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Micro Village Community Center  
	Quote #:
	61125-09R

	Location:
	Little Rock, AR
	Bid Date:
	4/10/2025

	Architect:
	Williams & Dean
	Date:
	4/2/2025

	Engineer:
	Insight
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	UR-1
	Carrier: Josam 17560-UR
	1315.00

	
	
	

	LAV-1-2
	Faucet: T&S Brass B-2711 (AS ALTERNATE TMV BELOW DECK)
	280.50

	
	1070 Listed TMV: Leonard 170A-LF
	184.00

	
	Drain: McGuire 155WCECO
	54.68

	
	P-Trap: McGuire C8872CECO
	55.60

	
	Stops & Supplies: McGuire LF2165LK
	60.06

	
	Insulation: McGuire PW2000WC
	179.50

	
	Carrier: Josam 17100
	1557.00

	
	
	

	S-1 
	Faucet: T&S Brass B-2850-WH4
	453.00

	
	Drain: McGuire 151A
	61.84

	
	P-Trap: McGuire C8912CECO
	59.06

	
	Stops & Supplies: McGuire LF2165LK
	60.06

	
	1070 Listed TMV: Leonard 170A-LF
	184.00

	
	Insulation: McGuire PW2000
	149.52

	
	Continuous Waste: McGuire 111C16G17
	140.10

	
	
	

	SS-1
	Mop Sink: Stern Williams HL-1800
	810.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR-CR
	280.00

	
	Mop Hanger: T&S Brass B-0653
	91.80

	
	Hose & Hook: T&S Brass B-0654
	55.60

	
	
	

	RPZA
	Protective Enclosure for Back Flow: Aqua Shield     (BFP Not Included)
	

	
	BFP3-NS (NO HEAT)
	5620.00

	
	BFP3-NS (W/ HEAT)
	6710.00

	
	
	

	TMV-1
	LEONARD MEGATRON 3NB-LF
	19555.00

	
	
	

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3-VP
	562.00

	
	4” 58604-CO4-VP
	653.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22-VP
	1495.00

	
	4” 55004-Z-1-22-VP
	1847.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6S-Y
	1125.00

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB
	5298.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	1854.00

	
	6” 25016-T-BS
	3212.00

	
	8” 25018-T-BS
	4437.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22-VP
	1372.00

	
	4” 55004-Z-22-VP
	1542.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	870.00

	
	75000B                                                                                                                   12-32
	1756.00

	
	75000C                                                                                                                   33-60
	2639.00

	
	75000D                                                                                                                 61-113
	6604.00

	
	75000E                                                                                                               114-154
	7455.00

	
	75000F                                                                                                               155-330
	9164.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
