P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

1- Leonard Valve Company 2/1/2025

2- McGuire MFG 1/1/2025

3- Josam 1/1/2025

4- T&S Brass & Bronze Works 1/1/2025

Keep in mind, we have Fernco and Stern- Williams in stock in Little Rock.

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	UAMS NWA Ortho and Sports Medicine 
	Quote #:
	61225-01R

	Location:
	Springdale, AR
	Bid Date:
	6/18/2025

	Architect:
	Marlon Blackwell
	Date:
	6/12/2025

	Engineer:
	CMTA
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EESH-1
	Mixing Valve: Leonard TM-800-LF
	1920.00

	
	
	

	EWC-1
	Water Cooler: Oasis M8CREBF
	7506.00

	
	Apron: Oasis 035174-002
	81.00

	 
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LFST12LK
	25.13

	
	Carrier Single Level: Josam 17560-WC
	1315.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2065.00

	
	
	

	L-1
	Faucet: T&S Brass ECW-3152-HW
	1220.00

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire 8902C
	100.53

	
	Stops & Supplies: McGuire LF165LK
	57.70

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1557.00

	
	
	

	MB-1
	Mop Sink: Stern Williams SBC-1500
	1030.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	341.00

	
	Mop Hanger: T&S Brass B-0653
	91.80

	
	Hose & Hook: T&S Brass B-0654
	55.60

	
	
	

	S-1 
	Faucet: T&S Brass ECW-3152-HW
	1220.00

	
	Drain: McGuire 151A
	66.78

	
	P-Trap: McGuire 8902C
	100.53

	
	Stops & Supplies: McGuire LF165LK
	57.70

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Insulation: McGuire PW2000
	161.48

	
	Continuous Waste: McGuire 111C16G17
	151.30

	
	
	

	S-5
	Faucet: T&S Brass B-0892
	361.50

	
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire 8902C
	100.53

	
	Stops & Supplies: McGuire LF165LK
	57.70

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Insulation: McGuire PW2000
	161.48

	
	Continuous Waste: McGuire 111C16G17
	151.30

	
	
	

	SH-1
	Shower Valve: Leonard 4505
	945.00

	
	
	

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	2504.00

	
	Back to Back Horizontal 12694
	4675.00

	
	Vertical L/R  12704/12714
	2836.00

	
	Back to Back Vertical 12724
	5012.00

	
	Single Add For “SDH” 750LBS
	840.00

	
	Back To Back Add For “SD” 750LBS
	1681.00

	
	Single Add For “XSD” 1000LBS
	1148.00

	
	Back To Back Add For “XSD” 1000LBS
	2295.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1315.00

	
	
	

	GWH-1-2
	Water Heater: Rinnai COMMERCIAL CHS199100HCXiN                  AS ALTERNATE
	11550.00EA

	
	DEMAND DUO TANK TANKLESS
	

	
	
	

	TMV-1
	Mixing Valve: Leonard PNV-200-LF-2.5
	10850.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
