P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	OKC Golf Course
	Quote #:
	11425-02R

	Location:
	OKC, OK 
	Bid Date:
	11/7/2025

	Architect:
	AHMM
	Date:
	11/4/2025

	Engineer:
	DA
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	ORD-1
	Roof Drain: Josam 22200-Z
	3220.00

	
	
	

	DN-1
	Josam
	

	
	2,3,4” 25020
	4877.00

	
	6” 25026
	5195.00

	
	8” 25028
	5405.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y (ITS CALLING FOR A ROUND STRAINER)
	790.00

	FD-1
	Floor Drain: Josam 30000-5S-Y (IN THE NOTES IT’S CALLING FOR SQUARE STRAINER)
	1062.00

	
	
	

	FD-2
	Floor Drain: Josam 30000-6E1-Y
	1605.00

	
	
	

	HL-1
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LF170LK
	87.14

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1635.00

	
	
	

	HUR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	510.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	
	Speedi Drain Connector: Stern Williams TC-3
	22.50

	 
	Faucet: Stern Williams T-10-VB
	254.00

	
	Mop Hanger: Stern Williams T-40
	72.00

	
	Hose & Hook: Stern Williams T-35
	46.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	1921.00

	
	5”-6” 21500-Z-22-1
	2424.00

	
	8”     21500-Z-22-1
	2923.00

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	2301.00

	
	5”-6” 21500-Y-22-17-1
	2805.00

	
	8”     21500-Y-22-17-1
	3302.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	TWCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
