P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

1- Leonard Valve Company 2/1/2025

2- McGuire MFG 1/1/2025

3- Josam 1/1/2025

4- T&S Brass & Bronze Works 1/1/2025

Keep in mind, we have Fernco and Stern- Williams in stock in Little Rock.

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Panda Express

	Quote #:
	111225-15R

	Location:
	Springdale, AR
	Bid Date:
	11/20/2025

	Architect:
	ID Group
	Date:
	11/12/2025

	Engineer:
	MPW
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	A
	Stops & Supplies: McGuire LF2166LK
	37.34

	
	
	

	B
	Faucet: T&S Brass NO EQUAL
	

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1635.00

	
	
	

	D
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	E
	Floor Sink: Josam 49360A-Y-NB
	5775.00

	
	
	

	G
	Floor Drain: Josam 30000-5A-Y-F4
	1454.00

	
	
	

	P3
	RINNAI TANKLESS RACK  
	

	
	TRX02CXiN
	7320.00

	
	CASCADE HARNESS REU-CSA-C1 
	76.00

	
	COMMERCIAL NEATRALIZATION TANK

	801.00

	
	EST FREIGHT
	350.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
