P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

1- Leonard Valve Company 2/1/2025

2- McGuire MFG 1/1/2025

3- Josam 1/1/2025

4- T&S Brass & Bronze Works 1/1/2025

Keep in mind, we have Fernco and Stern- Williams in stock in Little Rock.

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Total Health Care Partners 
	Quote #:
	111725-03R

	Location:
	Yukon, OK 
	Bid Date:
	11/21/2025

	Architect:
	Gresham
	Date:
	11/17/2025

	Engineer:
	R2 Squared
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Stops & Supplies: McGuire LF2166LK
	37.58

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	 
	
	

	L-1
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1
	Drain: McGuire 1152WC
	157.08

	
	P-Trap: McGuire C8912CECO
	63.78

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Insulation: McGuire PW2000
	161.48

	
	Continuous Waste: McGuire 111C16G17
	151.30

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	510.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	
	Speedi Drain Connector: Stern Williams TC-3
	22.50

	 
	Faucet: Stern Williams T-15-VB
	318.00

	
	Mop Hanger: Stern Williams T-40
	72.00

	
	Hose & Hook: Stern Williams T-35
	46.00

	
	
	

	NFHB
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	TP
	JOSAM 88250
	481.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
