P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Bwhs Locker Room
	Quote #:
	42026-08R

	Location:
	Centerton, AR
	Bid Date:
	ASAP

	Architect:
	
	Date:
	4/20/2026

	Engineer:
	HSA 
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1-2
	Flush Valve: Delany 402-1.6-T42-SMO
	575.00

	
	
	

	P-3-4
	Flush Valve: Delany 451-1-T42-SMO
	575.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	P-5
	Faucet: T&S Brass B-2711
	313.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	P-6
	Willoughby WWF-4204-WALL-PPB1-LSD(4)
	5529.66

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	
	

	P-7
	Willoughby WRS-FA-ADA-WH-TPV-DV-1.5GPM-APS-FX-RD1
	2485.68

	
	LESS DRAIN
	

	
	
	

	P-8
	Willoughby CWSMS-TPV-1.5GPM-APS
	1114.71

	
	LESS VACUUM BREAKER AND DRAIN
	

	
	
	

	P-11
	Mop Sink: Stern Williams SB-850
	896.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	 
	Faucet: T&S Brass B-0665BSTP
	341.00

	
	Mop Hanger: T&S Brass B-0653
	91.80

	
	Hose & Hook: T&S Brass B-0654
	55.50

	
	
	

	P-12
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	P-13
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	P-14
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	P-15
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	P-16
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	BWFH DEN REMODEL
	

	P-1
	Mixing Valve: Leonard LV-356-20-W/HA-DT
	3280.00

	
	
	

	P-2
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
