P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Greer County Armory 
	Quote #:
	41326-04R

	Location:
	Magnum, OK
	Bid Date:
	4/22/2026

	Architect:
	Goldberg
	Date:
	4/13/2026

	Engineer:
	Olsson 
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	PCW-1-L,PCW-1R
	Willoughby ECW-1546-L/R/C-ON-BPH-E1L2-PZPB-WUCC-3010-EB-LWC-TWE-TWC-EFVP1.28-FVT-RTH-WS(CA)-TF25
	5872.66

	
	
	

	PCW-2S-R
	Willoughby ECW-4896-FA-L/R-OM-DMBH-E1L2-PZPB-WUCC-3010-RPT-SLOW-GWC-EFVP1.28-TF24
	9398.93

	
	
	

	PCW-3A-L
	Willoughby ECW-1545-L/R-ON-DMBH-E1L2-PZPB-WUCC-3010-EB-LWC-TWE-TWC-EFVP1.28-FVT-WS(CA)-TF24
	7728.79

	
	
	

	Psh-1
	Willoughby CWSMS-TPV-1.5GPM-APS-SD(1)
	1171.09

	
	
	

	PSH-2
	Willoughby CWSMS-ADA-WH-TPV-DV1.5GPM-APD-2HD-SD(1)
	2093.61

	
	
	

	L-1
	Drain: McGuire 155WC
	100.19

	
	P-Trap: McGuire C8872C
	82.88

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912C
	90.55

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	22.50

	 
	Faucet: Stern Williams T-10-VB
	254.00

	
	Mop Hanger: Stern Williams T-40
	72.00

	
	Hose & Hook: Stern Williams T-35
	46.00

	
	
	

	FDFV
	Floor Drain: Josam 49870A-Y-98
	17673.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	ECO
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	GWH-1
	Water Heater: Rinnai COMMERCIAL CHS199100HCXiN                  AS ALTERNATE
	12250.00

	
	DEMAND DUO TANK TANKLESS
	

	
	DOES NOT ENCLUDE DMV-1, OR ET-1
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
